## Fit_Tests adjusted
Study_ID | Date_of_Test | Age | Sex | Height | Weight | BMI | Face_Width | Face_Length | NIOSH_Panel | Naso_Sellion_Distance | Model_3M | Neg_Pressure_3M | Run_1_3M | Run_2_3M | Run_3_3M | Run_4_3M | Run_5_3M | Run_6_3M | Run_7_3M | Overall_FF_3M | Pass_Fail_3M | Retest_3M | Model_Duo | Run_1_Duo | Run_2_Duo | Run_3_Duo | Run_4_Duo | Run_5_Duo | Run_6_Duo | Run_7_Duo | Overall_FF_Duo | Pass_Fail_Duo | Retest_Duo | Size_Duo | Filter_Valve_Duo | Comfort_Duo | Breathe_Duo |  | Run_1_SSM | Run_2_SSM | Run_3_SSM | Run_4_SSM | Run_5_SSM | Run_6_SSM | Run_7_SSM | Overall_FF_SSM | Pass_Fail_SSM | Retest_SSM | Mask_Type_SSM | Mask_Size_SSM | Filter_Type_SSM | Comfort_SSM | Breathing_SSM | Comments_SSM | Model_Q13 | Run_1_Q13 | Run_2_Q13 | Run_3_Q13 | Run_4_Q13 | Run_5_Q13 | Run_6_Q13 | Run_7_Q13 | Overall_FF_Q13 | Pass_Fail_Q13 | Filter_Q13 | Retest_Q13 | Comfort_Q13 | Breathe_Q13 | Test_Operator_Q13 | Coments_Q13 | Date_Q13
2 | 2020-05-07 | 62 | F | 171.5 | 71.4 | 24.2756 | 121 | 125 | 6 | 100 | 1870+ | Pass | 2026 | 934 | 1372 | 4408 | 482 | 465 | 778 | 871.672 | 1 | 0 | [16 empty] | 99999999 | 25959.05 | 10240.16 | 16958.36 | 4234.82 | 2675.3 | 99999999.99 | 8694.65 | 1 | 0 | SSM-D20 | M | AirGuard | 4 | 4 | Volunteer found they had to mouth breathe a lot, but it was very easy to breathe. | [14 empty] | AS
3 | 2020-05-05 | 44 | M | 172 | 75 | 25.3515 | 132 | 126 | 7 | 120 | 1870+ | Pass | 767 | 143 | 975 | 1222 | 367 | 302 | 1247 | 412.2803 | 1 | 0 | [16 empty] | 99999999.99 | 10701.59 | 99999999.99 | 21075.01 | 2467.11 | 12724.02 | 18986.85 | 10332.02 | 1 | 0 | SSM-D20 | M | AirGuard | 4 | 4 | [15 empty] | AS
6 | 2020-05-07 | 47 | M | 190.5 | 113.6 | 31.3032 | 140 | 130 | 9 | 110 | 1860 | Pass | 55 | 30 | 49 | 39 | 40 | 50 | 141 | 46.7738 | 0 | 0 | Duo 3 | 2838 | 1557 | 1836 | 453 | 1115 | 686 | 767 | 945.2871 | 1 | 0 | M | Mini x2, Red T3 (old) | 4 | 4 | UNSHAVED, for reference only, don't use infinal analysis | 11144.24 | 7762.25 | 8716.52 | 7422.18 | 390.28 | 3130.88 | 8338.26 | 2017.53 | 1 | 0 | SSM-D20 | M | AirGuard | 4.5 | 4 | Only able to mouth breathe | [14 empty] | AS
19 | 2020-05-11 | 42 | M | 180 | 98.9 | 30.5247 | 135 | 132 | 9 | 110 | 1870+ | Pass | 120 | 240 | 192 | 237 | 125 | 118 | 117 | 149 | 1 | 0 | [16 empty] | 17210.48 | 7457.45 | 53251.97 | 57043.76 | 1133.47 | 61842.89 | 99999999.99 | 6211.5448 | 1 | 0 | SSM-D20 | M | AirGuard | 2 | 1 | Very difficult to breathe. Said he could not wear mask for a whole case. Tube fell off. | [14 empty] | AS
1 | 2020-05-06 | 40 | M | 180.4 | 100 | 30.7275 | 137 | 136 | 9 | 105 | 1860 | Pass | 198.48 | 177.71 | 136.25 | 97.55 | 47.43 | 113.09 | 145.04 | 107.565 | 0 | 0 | [16 empty] | 4172.07 | 27935.9 | 27504.75 | 14617.13 | 1541.47 | 14862.95 | 5013.72 | 5402.4 | 1 | 0 | SSM-D20 | M | AirGuard | 3 | 4 | Straps kept popping off during donning | [14 empty] | AS
4 | 2020-05-07 | 35 | F | 157.5 | 47.7 | 19.229 | 144 | 110 | 4 | 85 | 1870+ | Pass | 8.13 | 5.19 | 7.92 | 9.27 | 21.53 | 6.9 | 9.73 | 8.2942 | 0 | 0 | Duo Nos | 11455 | 13817 | 7836 | 24748 | 2814 | 16099 | 15947 | 8665 | 1 | 0 | M | Mini x 2, Big Red, H100 | 3.5 | 4 |  | 8590.05 | 11560.94 | 50606.63 | 4880.49 | 6017.73 | 27551.75 | 99999999.99 | 11110.22 | 1 | 1 | SSM-D20 | M | AirGuard | 3.5 | 4 | 2nd Run after failing the first time | [14 empty] | AS
5 | 2020-05-22 | 66 | M | 175 | 69 | 22.5306 | 141 | 119 | 7 | 100 | 1870+ | Pass | 1929 | 1248 | 1449 | 119 | 1331 | 298 | 3007 | 983 | 1 | 1 | [16 empty] | 2380.53 | 3725.67 | 3238.58 | 3548.77 | 1127.64 | 4882.48 | 3428.3 | 2629.25 | 1 | 0 | SSM-D20 | M | AirGuard | 3 | 5 | [15 empty] | AS
7 | 2020-05-07 | 70 | M | 167 | 72.7 | 26.0676 | 132 | 118 | 3 | 10.5 | 1870+ | Pass | 33.22 | 97.88 | 87.16 | 38.73 | 30.55 | 13.51 | 19.74 | 29.79 | 0 | 0 | [16 empty] | 44311.82 | 99999999.99 | 99999999.99 | 4500.29 | 7248.16 | 99999999.99 | 99999999.99 | 18287.21 | 1 | 0 | SSM-D20 | M | AirGuard | 3 | 3 | Found significant resistance to breathing | [14 empty] | AS
8 | 2020-05-07 | 32 | F | 167 | 64 | 22.9481 | 117 | 114 | NA | 95 | 1870+ | Pass | 2368.05 | 346.23 | 1054.18 | 581.28 | 640.39 | 784.89 | 367.45 | 606.7667 | 1 | 0 | Duo Nos | 38374 | 15294 | 59543 | 26391 | 3503 | 99999999 | 29577 | 15042 | 1 | 0 | M | Big Red, Mini x 2, H100 | 5 | 5 | Feels good, easy to breathe | 99999999.99 | 21063.41 | 16710.12 | 7149.92 | 3460.6 | 19645.2 | 41004.29 | 11448.22 | 1 | 0 | SSM-D20 | M | AirGuard | 2 | 4 | [15 empty] | AS
9 | 2020-05-07 | 34 | M | 180 | 72.7 | 22.4383 | 129 | 129 | 6 | 105 | 1860 | Pass | 487.2 | 429.76 | 715.84 | 721.4 | 235.53 | 510.38 | 542.23 | 460.1666 | 1 | 0 | Duo Nos | 17813 | 23094 | 38783 | 99999999 | 10386 | 5446 | 132447 | 16962 | 1 | 0 | M | Big Red, Mini x 2, H100 | 5 | 5 | Feels good, easy to breathe | 63515.24 | 99999999.99 | 117942.15 | 99999999 | 6439.1 | 99999999.99 | 114392.75 | 37175.5 | 1 | 0 | SSM-D20 | M | AirGuard | 4 | 5 | [15 empty] | AS |  | 2020-06-22
11 | 2020-05-08 | 32 | M | 182 | 90 | 27.1706 | 148 | 135 | 10 | 120 | 1860 | Pass | 98.81 | 77.56 | 27.87 | 53.15 | 66.83 | 30.52 | 40.53 | 46.6321 | 0 | 0 | Duo 3 | 3904 | 13045 | 4631 | 4559 | 979 | 16126 | 4503 | 3375.7326 | 1 | 0 | M | Yellow T3, Mini x 2 | 5 | 5 |  | 1454 | 304 | 125 | 430 | 1297 | 911 | 1172 | 411.1659 | 1 | 0 | SSM-D20 | M | AirGuard | 4 | 4 | Unshaved, straps outside hood. Filter coming loose during run # 3 - did a separate test to replace that run. | [14 empty] | WN |  | 2020-05-25
12 | 2020-05-08 | 35 | M | 170 | 62 | 21.4533 | 126 | 120 | 6 | 104 | 1860 | Pass | 162 | 304 | 379 | 623 | 71.5 | 141 | 275 | 182.1942 | 1 | 0 | [16 empty] | 43783 | 45135 | 18215 | 6454 | 2039 | 7391 | 48154 | 77884 | 1 | 0 | SSM-D20 | M | AirGuard | 4 | 4 | Nose padding to clse to nose bridge, flanges block nose | [14 empty] | WN
13 | 2020-05-08 | 31 | F | 163 | 58 | 21.83 | 121 | 115 | 3 | 100 | 1870+ | Pass | 1877 | 3064 | 1380 | 1335 | 574 | 810 | 2292 | 1218.2673 | 1 | 0 | Duo Nos | 28214 | 10971 | 9756 | 20018 | 2287 | 99999999 | 20762 | 9158 | 1 | 0 | M | Big red, Mini x2, H100 | 4 | 3.5 | PEEPing, stubbles | 25913 | 10208 | 30872 | 15709 | 1199 | 53426 | 99999999.99 | 6451 | 1 | 0 | SSM-D20 | M | AirGuard | 3 | 4 | Nose bridge is uncomfortable, and and glass don't fit onto nose | [14 empty] | WN
14 | 2020-05-09 | 29 | F | 164 | 54 | 20.0773 | 115 | 114 | NA | 90 | 1870+ | Pass | 1395 | 409 | 665 | 696 | 611 | 372 | 526 | 567.7971 | 1 | 0 | Duo Nos | 25715.66 | 15599.62 | 28520.74 | 17360 | 1692 | 32082 | 60344 | 8390 | 1 | 0 | M | Big red, Mini x 2, H100 | 4 | 4 |  | 49093 | 10763 | 7802 | 2499 | 1091 | 68742 | 24053 | 4337 | 1 | 0 | SSM-D20 | M | AirGuard | 3 | 5 | fits glasses okay, mask does extend | [14 empty] | WN
15 | 2020-05-10 | 33 | M | 178 | 74 | 23.3556 | 132 | 130 | 6 | 105 | 8210 | Pass | 777.56 | 369.77 | 490.08 | 234.05 | 367.66 | 443.08 | 692.2 | 418.5343 | 1 | 0 | Duo Int | 9999999 | 99999999 | 24424 | 19822 | 2748 | 9921 | 57569 | 12207 | 1 | 0 | M | Big red, Mini x 2, H100 | 5 | 4 |  | 2508.4 | 3460.08 | 2467.79 | 4767.99 | 2598.7 | 3244.5 | 1497.24 | 2628.08 | 1 | 0 | SSM-D20 | M | AirGuard | 4 | 5 | [15 empty] | AS
18 | 2020-05-11 | 55 | F | 163 | 67.7 | 25.4808 | 116 | 110 | NA | 90 | 1860S | Pass | 134 | 48 | 132 | 139 | 43 | 70.19 | 138 | 79.9 | 0 | 1 | [16 empty] | 6302.81 | 4167.24 | 3221.63 | 4757.16 | 619.18 | 2008.13 | 15225.4 | 2259.58 | 1 | 0 | SSM-D20 | M | AirGuard | 3 | 4 | [15 empty] | AS
17 | 2020-05-11 | 46 | M | 178 | 75 | 23.6713 | 133 | 126 | 6 | 105 | 1870+ | Pass | 161.69 | 134.29 | 184.13 | 84.57 | 233.69 | 138.67 | 270.25 | 151.9179 | 1 | 0 | Duo Int | 24091 | 7167 | 27507 | 8965 | 5159 | 2746 | 315 | 1724 | 1 | 1 | M | Red Big, Mini x 2, H100 | 4 | 3.5 | PEEPing, stubbles | 27741.13 | 2729.55 | 6124.81 | 26406 | 2885.47 | 7134.07 | 99999999.99 | 6420.29 | 1 | 0 | SSM-D20 | M | AirGuard | 4 | 4 | [15 empty] | AS
20 | 2020-05-11 | 29 | F | 167 | 58 | 20.7967 | 116 | 110 | NA | 97.5 | 1870+ | Pass | 48.58 | 74.1 | 41.21 | 40.9 | 25.78 | 39.85 | 52.25 | 42.22 | 0 | 1 | Duo Nos | 8540.27 | 8631.06 | 14614.33 | 10058.66 | 4450 | 183.97 | 139.93 | 530 | 1 | 0 | M | Mini 2, Big Red | 3 | 3 | Talking and laughing a lot | 22803.76 | 51519.13 | 99999999.99 | 4387.1 | 1934.46 | 99999999.99 | 85100.67 | 8537.48 | 1 | 0 | SSM-D20 | M | AirGuard | 2 | 3 | [15 empty] | AS
21 | 2020-05-13 | 37 | M | 178 | 72.7 | 22.9453 | 126 | 115 | 3 | 95 | 8210 | Pass | 432.84 | 321.21 | 238.19 | 155.21 | 183.96 | 120.35 | 180.16 | 197.96 | 1 | 0 | Duo Nos | 11869 | 8666 | 3896 | 3330 | 641 | 7430 | 16987 | 2787 | 1 | 0 | M | Mini 2, Big Red | 5 | 5 |  | 49760.84 | 999.99 | 15234.81 | 44310.55 | 659.05 | 6057.76 | 99999999.99 | 2508.02 | 1 | 0 | SSM-D20 | M | AirGuard | 3 | 5 | [15 empty] | AS
22 | 2020-05-13 | 34 | F | 168 | 54 | 19.1327 | 112 | 120 | NA | 100 | 1860S | Pass | 231.8 | 58.85 | 242.73 | 126.41 | 73 | 28 | 179 | 79 | 0 | 0 | Duo Nos | 35284 | 8194 | 7749 | 14400 | 2085 | 30413 | 11235 | 7366 | 1 | 0 | M | Mini x 2, Big red, H100 | 3 | 5 | Needs Retest, rushed to Dinner | 1990.6 | 1322.21 | 1043.29 | 1479.68 | 859.36 | 2365.5 | 6281.92 | 1509.08 | 1 | 0 | SSM-D20 | M | AirGuard | 3 | 2 | [15 empty] | AS
23 | 2020-05-14 | 40 | M | 169 | 53 | 18.5568 | 132 | 118 | 3 | 92 | 1870+ | Pass | 980.47 | 441.23 | 750.38 | 576.82 | 350.82 | 643.04 | 829.86 | 585.06 | 1 | 0 | Duo 1 | 47858 | 29915 | 33186 | 23058 | 3676 | 99999999 | 70143 | 16903 | 1 | 1 | M | Red T3, Mini x 2 | 4 | 5 |  | 44216.95 | 43703.42 | 78311.8 | 64417.05 | 1885.82 | 42290.21 | 99999999.99 | 11167.6 | 1 | 0 | SSM-D20 | M | AirGuard | 4 | 4 | [15 empty] | AS |  | 2020-05-28
24 | 2020-05-14 | 36 | M | 178 | 83 | 26.1962 | 135 | 124 | 7 | 115 | 8210 | Pass | 269.68 | 120.25 | 149.17 | 131.27 | 97.77 | 179.59 | 365.92 | 155.99 | 1 | 0 | Duo Int | 27219 | 7256 | 17555 | 5047 | 1786 | 4553 | 5295 | 5006.9361 | 1 | 0 | M | Big red, Mini x 2, H100 | 4 | 4 | has been tested before but he was unshaved | 28368.31 | 7914.87 | 14597.25 | 5531.33 | 2414.89 | 15527.22 | 46180.53 | 7683.5 | 1 | 1 | SSM-D20 | M | AirGuard | 2 | 3 | [15 empty] | AS
25 | 2020-05-14 | 36 | M | 190 | 110 | 30.4709 | 139 | 117 | 4 | 95 | 1860 | Pass | 174.85 | 93.82 | 187.36 | 127.94 | 112.95 | 134.34 | 220.89 | 139.01 | 1 | 0 | Duo Int | 7643 | 6397 | 4570 | 8170 | 2927 | 7242 | 7311 | 5623 | 1 | 0 | M | Red T3, Mini x 2 (new), H100 | 4 | 5 | stubble, prefers more silicone under chin | 153412.7 | 134286.45 | 99999999.99 | 1436.53 | 4865.83 | 17314.1 | 31200.75 | 6962.28 | 1 | 0 | SSM-D20 | M | AirGuard | 4.5 | 5 | [15 empty] | AS
26 | 2020-05-14 | 31 | F | 168 | 53 | 18.7783 | 123 | 115 | 3 | 90 | 1860S | Pass | 124 | 108 | 116 | 131 | 154 | 70 | 167 | 116 | 1 | 1 | [16 empty] | 137.97 | 436.38 | 160.78 | 218.4 | 90.87 | 285.68 | 431.29 | 188.3658 | 1 | 1 | SSM-D20 | M | AirGuard | 3 | 3 | Prominent nose, narrow chin, thin | [14 empty] | AS
16 | 2020-05-26 | 33 | M | 186 | 85 | 24.5693 | 135 | 127 | 7 | 102 | 1870+ | Pass | 2028.9 | 929.43 | 354.47 | 641.96 | 498.59 | 643.03 | 1503.23 | 688.05 | 1 | 1 | Duo 3 | 1548 | 2574 | 3329 | 3781 | 1381 | 2808 | 3558 | 2364 | 1 | 0 | M | Red T3, Mini/AirGuard | 4 | 5 | Unshaved | 99999999.99 | 25005.16 | 57789 | 17914.84 | 1936.41 | 61832.75 | 99999999.99 | 10840.47 | 1 | 0 | SSM-D20 | M | AirGuard | 4 | 4 |  | Q1-3 | 99999999 | 40262 | 30604 | 7132 | 1127 | 26237 | 24142 | 6011 | 1 | AirGuard | 1 | 4 | 4 | WN |  | 2020-05-29
27 | 2020-05-18 | 30 | M | 174 | 80 | 26.4236 | 147 | 129 | 10 | 100 | 1860 | Pass | 157.4 | 99.7 | 95.7 | 112.5 | 88.4 | 71.1 | 130.7 | 101.8 | 0 | 0 | Duo 1 | 10905 | 27432 | 6921 | 36019 | 1385 | 16667 | 7975 | 5796 | 1 | 1 | M | Red T3, Mini x 2 | 5 | 5 |  | 17785 | 7471 | 7392 | 12133 | 1464 | 27121 | 18494 | 5923 | 1 | 0 | SSM-D20 | M | AirGuard | 4 | 4 | Good Fit | Q1-3 | 24574 | 99999999 | 99999999 | 66327 | 15050 | 4702 | 74279 | 20092 | 1 | AirGuard | 0 | 5 | 4 | WN
32 | 2020-05-21 | 36 | M | 183 | 76 | 22.694 | 143 | 130 | 9 | 120 | 1870+ | Pass | 167.5 | 96.1 | 134 | 160.5 | 128.9 | 109.7 | 162.5 | 131.8 | 1 | 0 | Duo Nos | 12636 | 28318 | 19663 | 19085 | 2016 | 99999999 | 99999999 | 9809 | 1 | 0 | M | Red T3, Mini x2 | 4 | 3.5 | PEEPing, | 8209 | 70152 | 10602 | 92753 | 3099 | 99999999 | 99999999 | 12414 | 1 | 0 | SSM-D20 | M | AirGuard | 3.5 | 4 | Muffled | Q1-3 | 15832 | 10259 | 6879 | 3763 | 2367 | 21509 | 12576 | 6249 | 1 | AirGuard | 0 | 4 | 4 | WN
28 | 2020-05-21 | 43 | F | 161 | 52 | 20.061 | 124 | 111 | 3 | 100 | 1860S | Pass | 156 | 87.9 | 142.5 | 150.7 | 138.5 | 105 | 332 | 136.7 | 1 | 0 | Duo Int | 5238 | 7818 | 49709 | 11694 | 874 | 4895 | 20067 | 3841 | 1 | 0 | M | Big Red, Mini x2, H100 | 4 | 4 |  | 6833 | 7480.1 | 4661.8 | 2345 | 8157 | 14181 | 79249 | 6213 | 1 | 0 | SSM-D20 | M | AirGuard | 4 | 4 |  | Q1-3 | 30862 | 30345 | 15934 | 1862 | 9308 | 3947 | 7941 | 6078 | 1 | AirGuard | 0 | 5 | 4 | WN | Straps cutting into eyes, touches
36 | 2020-05-21 | 35 | F | 163 | 54 | 20.3244 | 126 | 110 | 3 | 90 | 1860S | Pass | 34.7 | 31.5 | 35.5 | 62.3 | 25.4 | 7 | 42.2 | 23 | 0 | 0 | [16 empty] | 6572 | 2532 | 62939 | 68726 | 5185 | 54260 | 20560 | 8358 | 1 | 0 | SSM-D20 | M | AirGuard | 3 | 3 | Muffled, but easier to breathe cc Q1-3 | Q1-3 | 7270 | 3381 | 6142 | 472 | 520 | 1069 | 99999999 | 1256 | 1 | AirGuard | 0 | 2 | 2 | WN | Nose digging a lot
34 | 2020-05-21 | 40 | F | 171 | 89 | 30.4367 | 137 | 111 | 4 | 96 | 1870+ | Pass | 619.5 | 557 | 584 | 424 | 156 | 234 | 309 | 327 | 1 | 1 | [16 empty] | 47177 | 8592 | 5386 | 2224 | 1346 | 3268 | 25600 | 3761.6348 | 1 | 0 | SSM-D20 | M | AirGuard | 5 | 3 |  | Q1-3 | 4019 | 6951 | 31294 | 1278 | 4726 | 22487 | 99999999 | 4797 | 1 | AirGuard | 0 | 1 | 5 | WN | Restriction of verticla movement, straps blocking bottom visual fields
10 | 2020-05-21 | 36 | M | 185 | 79.5 | 23.2286 | 121 | 119 | 6 | 105 | 8210 | Pass | 108.4 | 111.8 | 148.25 | 128.06 | 164.1 | 114.2 | 199.2 | 133.1 | 1 | 1 | Duo Nos | 16660 | 12925 | 31978 | 61640 | 1997 | 6968 | 20172 | 7966 | 1 | 0 | M | Big Red, Mini x 2, H100 | 5 | 3 | shaved | 169950.25 | 171987.7 | 90670.08 | 4010.92 | 18129.08 | 59878.07 | 25995.29 | 18306.6 | 1 | 0 | SSM-D20 | M | AirGuard | 4 | 4 |  | Q1-3 | 8764 | 11576 | 58756 | 27193 | 856 | 5653 | 13905 | 4187 | 1 | AirGuard | 0 | 5 | 4 | AS/WN
29 | 2020-05-21 | 35 | M | 179 | 79 | 24.6559 | 145 | 122 | 7 | 108 | 1860 | Pass | 52.94 | 99.5 | 111 | 103 | 81 | 79 | 112.5 | 86 | 0 | 0 | Duo Nos | 4650.7 | 4282.65 | 6598.77 | 8988.16 | 1148.02 | 4327 | 5083.62 | 3482 | 1 | 0 | M | Big Red, Mini x 2, H100 | 4.5 | 4.5 |  | 1315 | 1952 | 1633 | 1542 | 1027 | 2314 | 12001 | 1740 | 1 | 1 | SSM-D20 | M | AirGuard | 4 | 4.5 | Needs to be tight for good fit | Q1-3 | 16462 | 12599 | 13684 | 17140 | 1797 | 15996 | 63064 | 7722 | 1 | AirGuard | 0 | 5 | 4.5 | WN | Muffled
37 | 2020-05-22 | 55 | F | 165 | 95 | 34.8944 | 124 | 125 | 6 | 99 | 1870+ | Pass | 443 | 467 | 531 | 496 | 167 | 155 | 407 | 302 | 1 | 0 | [16 empty] | 91266 | 49532 | 16370 | 14504 | 7289 | 47485 | 46675 | 20537 | 1 | 0 | SSM-D20 | M | AirGuard | 3 | 3 | Heavy, drags down, glasses | Q1-3 | 62749 | 21275 | 18081 | 18081 | 1728 | 3272 | 15614 | 6295 | 1 | AirGuard | 0 | 4 | 5 | WN | straps in way of view
38 | 2020-05-22 | 42 | F | 158 | 59 | 23.634 | 135 | 124 | 7 | 90 | 1870+ | Pass | 930 | 839 | 640 | 117 | 104 | 249 | 421 | 247 | 1 | 0 | [16 empty] | 16979 | 99999999 | 55203 | 18595 | 1642 | 3558 | 15160 | 6439 | 1 | 0 | SSM-D20 | M | AirGuard | 2 | 4 | Nose bridge too tight, pinching | Q1-3 | 99999999 | 22455 | 44913 | 8140 | 946 | 4562 | 2124 | 3615 | 1 | AirGuard | 0 | 3 | 2 | WN | Harder to breathe as time went, especially on bending
31 | 2020-05-22 | 30 | F | 167 | 70 | 25.0995 | 140 | 119 | 7 | 89 | 1860S | Pass | 236 | 125 | 120 | 112.5 | 49 | 125.7 | 197 | 112 | 1 | 0 | [16 empty] | 9466.3 | 41248.1 | 99999999 | 98897 | 2874 | 99999999 | 57614 | 13852 | 1 | 0 | SSM-D20 | M | AirGuard | 2 | 4 | Chin pinching | Q1-3 | 219 | 493 | 149 | 271 | 1262 | 7906 | 2316 | 382 | 1 | AirGuard | 0 | 4.5 | 4 | WN | filter touching chest on nodding
39 | 2020-05-22 | 56 | F | 152 | 49 | 21.2084 | 134 | 108 | 1 | 93 | 1860S | Pass | 36.1 | 25.4 | 26.6 | 25 | 25.7 | 28.4 | 20.1 | 26.1 | 0 | 0 | [16 empty] | 9197 | 14330 | 11103 | 222.5 | 127.7 | 751 | 6229.4 | 497 | 1 | 0 | SSM-D20 | M | AirGuard | 4 | 5 | very easy to breathe cc 3M, likes the secure buckles and straps | Q1-3 | 4084 | 3582 | 4892 | 3092 | 1351 | 3481 | 9218 | 3200 | 1 | AirGuard | 1 | 4 | 5 | WN | retest next week, unsure about straps sliding.
41 | 2020-05-22 | 41 | M | 196 | 82 | 21.3453 | 140 | 133 | 9 | 120 | 1860 | Pass | 143 | 75 | 121 | 62 | 50 | 63 | 77 | 75 | 0 | 0 | [16 empty] | 25092 | 5816 | 32156 | 193 | 1299 | 7119 | 32912 | 1101 | 1 | 0 | SSM-D20 | M | AirGuard | 5 | 5 |  | Q1-3 | 6417 | 14296 | 6039 | 7062 | 506 | 5548 | 183 | 859 | 1 | AirGuard | 0 | 2 | 2 | WN | Nose touching
40 | 2020-05-22 | 45 | F | 153 | 60 | 25.6312 | 140 | 109 | 2 | 96 | 1870+ | Pass | 690 | 315 | 298 | 428 | 253 | 180 | 191 | 279 | 1 | 0 | [16 empty] | 68716 | 38126 | 22160 | 10318 | 3658 | 29782 | 28922 | 13351 | 1 | 0 | SSM-D20 | M | AirGuard | 3 | 4 | has to be lighter, muffled | Q1-3 | 1032 | 266 | 7139 | 99999999 | 3024 | 45644 | 15171 | 1322 | 1 | AirGuard | 0 | 3.5 | 4 | WN | filter touch chest, straps hard to place, light, more comfortable, muffled
42 | 2020-05-23 | 42 | M | 187 | 73 | 20.8756 | 125 | 129 | 2 | 115 | 1870+ | Pass | 112 | 149 | 166 | 228 | 95.8 | 96 | 193 | 134 | 0 | 0 | [16 empty] | 49688 | 7827 | 14828 | 5109 | 758 | 32373 | 21718 | 3874 | 1 | 0 | SSM-D20 | M | AirGuard | 3 | 4 |  | Q1-3 | 36321 | 35300 | 34489 | 7030 | 1116 | 8510 | 3269 | 4527 | 1 | AirGuard | 0 | 3 | 2 | WN | mask has to sit lower, can't nod down, nose pushed in so can't breathe through nose
43 | 2020-05-23 | 37 | M | 165 | 70 | 25.7117 | 143 | 125 | 7 | 108 | 1860 | Pass | 621 | 344 | 649 | 370 | 40 | 201 | 249 | 164 | 1 | 0 | [16 empty] | 20924 | 9405 | 25740 | 23459 | 593 | 9067 | 19691 | 3358 | 1 | 0 | SSM-D20 | M | AirGuard | 5 | 5 |  | Q1-3 | 7731 | 13261 | 99999999 | 12383 | 304 | 4162 | 1050 | 1469 | 1 | AirGuard | 0 | 3.5 | 3 | WN
44 | 2020-05-23 | 47 | F | 163 | 49 | 18.4425 | 134 | 105 | 1 | 100 | 1870+ | Pass | 496 | 407 | 379 | 134 | 192 | 108 | 259 | 213 | 1 | 0 | [16 empty] | 14539 | 7330 | 99999999 | 2823 | 2204 | 12554 | 11202 | 5922 | 1 | 0 | SSM-D20 | M | AirGUard | 5 | 3 |  | Q1-3 | 8319 | 8071 | 9763 | 3228 | 943 | 2561 | 6101 | 3082 | 1 | AirGuard | 0 | 3 | 5 | WN | filter touches chest
45 | 2020-05-23 | 29 | F | 178 | 68 | 21.4619 | 144 | 115 | 5 | 92 | 1870+ | Pass | 425 | 240 | 254 | 143 | 210 | 136 | 273 | 210 | 1 | 0 | Duo Nos | 17303 | 17097 | 32909 | 9161 | 2995 | 19536 | 44425 | 10552 | 1 | 0 | M | Mini x2, Red Big, H100 | 4 | 4 | Good feeling | 23495 | 8983 | 10887 | 12034 | 1299 | 8633 | 10800 | 5355 | 1 | 0 | SSM-D20 | M | AirGuard | 3 | 4 |  | Q1-3 | 8820 | 5136 | 29205 | 8118 | 839 | 3610 | 15635 | 3503 | 1 | AirGuard | 0 | 4 | 4 | WN | filter touches chest, straps can be easier to tighten
46 | 2020-05-23 | 28 | F | 157 | 47 | 19.0677 | 148 | 108 | 5 | 101 | 1870+ | Pass | 67 | 68 | 70 | 40 | 84 | 53 | 77 | 62 | 0 | 0 | Duo Nos | 21588 | 16341 | 9171 | 14346 | 6578 | 20588 | 23123 | 13209 | 1 | 0 | M | Mini x 2, Red Big, H100 | 4.5 | 4.5 | Good fitting, straps could be a bit easier | 13205 | 99999999 | 8566 | 16683 | 2905 | 7568 | 99999999 | 9609 | 1 | 0 | SSM-D20 | M | AirGuard | 5 | 5 |  | Q1-3 | 258 | 8389 | 39190 | 1088 | 5172 | 2673 | 50882 | 1267 | 1 | AirGuard | 0 | 3.5 | 4 | WN | straps, adjustable please, a bit harder to fix on.
47 | 2020-05-23 | 29 | F | 153 | 52 | 22.2137 | 135 | 127 | 7 | 101 | 1860S | Pass | 147 | 103 | 151 | 122.5 | 103 | 76 | 139 | 114 | 1 | 0 | Duo Nos | 9132 | 6967 | 18448 | 4863 | 1463 | 2437 | 4387 | 3816 | 1 | 0 | M | Mini x 2, Red T3 (old), H100 | 4 | 5 | Good feeling | 883 | 1524 | 960 | 1906 | 572 | 1049 | 1247 | 1021 | 1 | 0 | SSM-D20 | M | AirGuard | 4 | 5 |  | Q1-3 | 9640 | 5701 | 11803 | 8003 | 2039 | 4319 | 7061 | 5175 | 1 | AirGuard | 0 | 5 | 4 | WN
48 | 2020-05-29 | 28 | F | 152 | 44 | 19.0443 | 136 | 112 | 4 | 106 | 1870+ | Pass | 410 | 162 | 223 | 207 | 87 | 134 | 142 | 160 | 1 | 0 | Duo 1 | 2411 | 2951 | 1807 | 2547 | 1895 | 1946 | 3075 | 2282 | 1 | 0 | M | Mini x2, Red T3 (old) | 5 | 5 | A little tight but very comfortable
49 | 2020-05-29 | 31 | F | 156 | 46 | 18.902 | 116 | 120 | NA | 112 | 1860S | Pass | 14 | 21 | 12 | 12 | 19 | 13.5 | 28 | 16 | 0 | 0 | Duo 4 | 1171 | 1745 | 1175 | 1427 | 1047 | 291 | 567 | 767 | 1 | 0 | M | Mini x2, Red T3 (new) | 4 | 5 | Bun hard to fit | [16 empty] | Q6 | TBC | TBC | TBC | TBC | TBC | TBC | TBC | TBC | 0 | AirGuard | 0 |  |  | WN
35 | 2020-05-29 | 49 | M | 174 | 77.5 | 25.5978 | 144 | 120 | 7 | 117 | 1860 | Pass | 90 | 91 | 99.4 | 80.2 | 93.8 | 54.5 | 121 | 85.5 | 0 | 0 | Duo 1 | 3780 | 4556 | 99999999 | 41863 | 3611 | 46796 | 2806 | 6028 | 1 | 0 | M | Mini x2, Red T3 (new) | 4 | 5 | Good fitting
50 | 2020-05-29 | 26 | F | 178 | 73 | 23.04 | 135 | 128 | 7 | 105 | 8210 | pass | 181 | 327 | 557 | 277 | 63 | 134 | 145 | 159 | 1 | 0 | Duo 3 | 957 | 1711 | 1583 | 1956 | 1856 | 3116 | 1971 | 1691 | 1 | 0 | M | Mini x2, Red T3 (new) | 5 | 5 | [31 empty] | RC
51 | 2020-05-29 | 34 | M | 180 | 92 | 28.3951 | 160 | 140 | NA | 120 | 8210 | Pass | 76 | 67 | 71 | 98 | 42 | 59 | 77 | 66 | 0 | 0 | Duo 4 | 2130 | 2403 | 2562 | 1551 | 1095 | 1386 | 1867 | 1711 | 1 | 0 | M | Mini x2, Red T3 (new) | 3 | 4
52 | 2020-05-30 | 43 | F | 157 | 53 | 21.5019 | 125 | 117 | 3 | 102 | 1860S | Pass | 71.7 | 85.2 | 101 | 77.2 | 34.5 | 64.3 | 94.5 | 67.5 | 0 | 0 | Duo 3 | 2582 | 1608 | 2536 | 1530 | 918 | 1771 | 2154 | 1847.9228 | 1 | 0 | M | Mini x2, Red T3 (new) | 2.5 | 3 | Nostrils were compressed, made it harder to breathe through the nose.
53 | 2020-05-30 | 36 | F | 150 | 48 | 21.3333 | 136 | 114 | 4 | 101 | 1870+ | Pass | 80.7 | 93.6 | 93.6 | 121 | 138 | 68.9 | 69.2 | 89.5 | 0 | 0 | Duo 5 | 2649 | 5382 | 2931 | 3785 | 2681 | 3037 | 3334 | 3224 | 1 | 0 | M | Mini x2, Red T3 (new) | 2 | 3 | similar to 3M in comfort
54 | 2020-05-30 | 42 | F | 157 | 51 | 20.6905 | 125 | 108 | 1 | 98 | 1870+ | Pass | 180 | 125 | 182 | 148 | 45.8 | 157 | 166 | 117 | 1 | 0 | Duo 1 | 11917 | 36483 | 24272 | 13755 | 4166 | 16084 | 11984 | 11459 | 1 | 1 | M | Mini x2, Red T3 (new) | 4 | 5 | Heavy
55 | 2020-06-01 | 59 | F | 157 | 57 | 23.1247 | 131 | 116 | 3 | 101 | 1870+ | Pass | 787 | 196 | 478 | 495 | 121 | 343 | 240 | 271 | 1 | 0 | Duo 3 | 3143 | 4105 | 2011 | 1186 | 1590 | 1398 | 1918 | 1857.8368 | 1 | 0 | M | Mini x 2, Red T3 (old) | 5 | 5 | easy to wear and breathe, but needs a smaller size cos her face is small, had to adjust for a long time for nose bridge to cover
56 | 2020-06-01 | 39 | M | 183 | 113 | 33.7424 | 148 | 131 | 8 | 110 | 1870+ | Pass | 418 | 356 | 233 | 174 | 67 | 181 | 213 | 173 | 1 | 0 | Duo 3 | 1666 | 1807 | 2521 | 6199 | 2395 | 4776 | 2125 | 2492 | 1 | 0 | M | Mini x2, Red T3 (old) | 4 | 3
57 | 2020-06-02 | 42 | M | 178 | 79 | 24.9337 | 138 | 125 | 7 | 109 | 1860 | Pass | 68 | 55.6 | 65.8 | 66 | 35.7 | 46.9 | 94.2 | 57 | 0 | 0 | Duo 5 | 1330 | 1219 | 5353 | 2735 | 1991 | 2295 | 5777 | 2163 | 1 | 1 | M | Mini x2, Red T3 (old) | 3 | 3 | High riding, pinching nose, can't wear glasses with high position, and pushing onto bridge of nose.
58 | 2020-06-02 | 30 | M | 180 | 66 | 20.3704 | 136 | 126 | 6 | 115 | 1870+ | Pass | 439 | 247 | 445 | 341 | 274 | 321 | 374 | 334 | 1 | 0 | Duo 1 | 3018 | 4146 | 10045 | 6932 | 3445 | 5690 | 10119 | 5068.0612 | 1 | 1 | M | Mini x2, Red T3 (old) | 5 | 5 | Stubbles, first wear chin was exposed, adjusted to get proper fitting.
59 | 2020-06-03 | 47 | M | 175 | 73 | 23.8367 | 137 | 127 | 7 | 117 | 1860 | Pass | 73.3 | 115 | 87.1 | 100 | 29.9 | 74.5 | 140 | 71.6 | 1 | 0 | Duo 3 | 18147 | 62981 | 14522 | 33101 | 3160 | 11669 | 6850 | 9746 | 1 | 0 | M | Mini x2, Red T3 (old) | 4 | 5 | Muffled sounds, didn't pinch nose | [30 empty] | RC
60 | 2020-06-03 | 28 | F | 173 | 59 | 19.7133 | 125 | 118 | 3 | 109 | 9105S | Pass | 152.2 | 52.3 | 147 | 95.5 | 60.4 | 43.3 | 133 | 77.7 | 0 | 0 | Duo 1 | 2727 | 5404 | 1266 | 2157 | 1737 | 2295 | 2933 | 2217 | 1 | 0 | M | Mini x2, Red T3 (old) | 2 | 3 | Nose pressure, cold air, condensation, suggested to wearit higher
61 | 2020-06-03 | 39 | M | 157 | 56 | 22.719 | 151 | 113 | 5 | 105 | 1860S | Pass | 196 | 116 | 133 | 157 | 134 | 123 | 175 | 143 | 1 | 0 | Duo 5 | 21877 | 32055 | 4827 | 8615 | 1361 | 12891 | 7601 | 5208 | 1 | 0 | M | Mini x2, Red T3 (old) | 2 | 4 | Too heavy, drags
63 | 2020-06-19 | 46 | M | 182 | 93 | 28.0763 | 135 | 139 | 9 | 110 | 1860 | Pass | 73.9 | 82.9 | 70 | 56.54 | 110.31 | 54.4 | 82.28 | 72.04 | 0 | 1 | Duo Nos | 1301 | 1736 | 1227.76 | 955.29 | 914 | 1006 | 1185 | 1140 | 1 | 0 | M | Mini x2, Big Red, H100 | 3.5 | 4 | [31 empty] | RC
64 | 2020-06-19 | 33 | F | 160 | 54 | 21.0937 | 130 | 110 | 1 | 100 | 1870+ | Pass | 866.79 | 657.21 | 535.16 | 817.69 | 319.27 | 356.03 | 1232.77 | 559.15 | 1 | 0 | Duo Nos | 3144.98 | 11538.98 | 8183.54 | 7580.26 | 1814.09 | 5023.35 | 7316.48 | 4528.59 | 1 | 0 | M | Mini x2, Big Red, H100 | 2 | 3 | [31 empty] | RC
65 | 2020-06-19 | 44 | F | 163 | 52 | 19.5717 | 110 | 95 | NA | 90 | 1860S | Pass | 42.8 | 26.42 | 56.73 | 50.49 | 36.28 | 36.16 | 54.4 | 40.64 | 0 | 1 | Duo Nos | 1964.6 | 1954.84 | 3393.56 | 2935.41 | 2775.4 | 6299.7 | 4367.34 | 2911.11 | 1 | 0 | M | Mini x2, Big Red, H100 | 4 | 4 | [31 empty] | RC
66 | 2020-06-19 | 63 | M | 170 | 75 | 25.9516 | 130 | 135 | 6 | TBC | 1860 | Pass | 164.62 | 37.6 | 43.67 | 45.34 | 46.7 | 71.82 | 95.46 | 56.72 | 0 | 1 | [46 empty] | RC
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
Note on A2: William Ng: MM
Note on A3: William Ng: HD
Note on A4: Microsoft Office User: MG
Note on A5: William Ng: BA
Note on AS5: Microsoft Office User: Average of lowest 3 runs, missing data, will be recorded in analysis as such.
Note on X7: William Ng: 2020-06-23
Note on A8: Microsoft Office User: LF
Note on B8: William Ng: 7 May and 22 May
Note on X10: William Ng: 2020-06-19
Note on A12: William Ng: AM
Note on X16: William Ng: 2020-06-18
Note on A17: William Ng: CM
Note on W17: William Ng: This was already a retest! So we can use this data. My bad.
Note on AE18: William Ng: WHY, ? Talking? PEEPing?
Note on X19: William Ng: 2020-06-19
Note on AD19: William Ng: talking and laughin a lot
Note on AF19: William Ng: A lot of laughing (chatting)
Note on X20: William Ng: 2020-06-24
Note on X21: William Ng: 2020-06-22
Note on X24: William Ng: 2020-06-17
Note on A26: Microsoft Office User: AS
Note on BD27: Microsoft Office User: TME Mask Q1-3 are the same model
Note on X28: William Ng: 2020-06-23
Note on X29: William Ng: 2020-06-23
Note on A32: Microsoft Office User: DC, retested 21 May 2020, old data in separate sheet
Note on X32: Microsoft Office User: 2020-06-18 VA testing
Note on A33: William Ng: CT stubbles present
Note on X33: William Ng: 2020-06-19
Note on BD37: William Ng: Retest 28 May 2020
Note on X43: William Ng: 2020-06-25
Note on X44: William Ng: 2020-06-23
Note on X45: William Ng: 2020-06-23
Note on AK50: William Ng: discussed with Tony 2020-06-22, he said "in hindsight, [this mask] strap was broader and more comfortable than his own N95 and almost as comfortable as Panon straps." happy to increase rating by 1.
Note on AB51: William Ng: Neck strap too loose, rolled, had to rerun head nodding and last normal run
Note on AH53: William Ng: nasal part slipped up, retested
Note on A54: William Ng: EWS needs mask test
Note on AC54: William Ng: coughing, why? Powder from gloves? We rerun this run for talking.
Note on X61: William Ng: 2020-06-19
Note on K62: William Ng: Need to confirm with EM
Note on X62: William Ng: 2020-06-19
Note on X63: William Ng: 2020-06-19
Note on K64: William Ng: Need to confirm during Vasc OR

## Misc_Fit_Tests
[61 empty] | 31 | F |  | 168 | 53 | 18.7783 | 123 | 115 | 3 | 90 | 1860S | Pass | 438.5 | 104.52 | 117.86 | 161.55 | 63.17 | 74.72 | 129.46 | 110.3 | 0 | 0 | 77.6 | 53.58 | 48.29 | 51.87 | 46.09 | 43.52 | 71.77 | 53.79 | 0 | 0 | SSM-D20 | M | FiltaGuard
Tests | [23 empty] | Miscellaneous Tests | [12 empty] | Other Masks Lumped together | [12 empty] | Comments
| ID | Date | [9 empty] | Mask | Neg Pressure | Run #1 | Run #2 | Run #3 | Run #4 | Run #5 | Run #6 | Run #7 | Overall FF | Pass/Fail | Comments | Run #1 | Run #2 | Run #3 | Run #4 | Run #5 | Run #6 | Run #7 | Overall FF | Pass/Fail | Retest | Mask Type | Filter Type | Comments
AM unshaved | 11 | [10 empty] | 3M | Pass | 18.73 | 46.02 | 35.68 | 33.05 | 36.7 | 28.93 | 20.52 | 28.7 | 0 | [11 empty] | SSM
PS non-fitted | 7 | [10 empty] | 3M | Pass | 33.22 | 97.88 | 87.16 | 38.73 | 30.55 | 13.51 | 19.74 | 29.79 | 0 | [11 empty] | SSM
SS | 4 | [10 empty] | 3M | Pass | [10 empty] | 66.3 | 82.5 | 217.38 | 135.5 | 539.22 | 311.33 | 225.87 | 143.83 | 0 | 0 | SSM M - DS20 | AirGuard | This needs retest, Run 4/5 is better than run 1/2 and run 7 is 3 fold of run 1
AG | 22 | [10 empty] | 3M | Pass | 267.26 | 24.66 | 827.15 | 209.81 | 70.58 | 173.08 | 185.63 | 92.59 | 0 | N95 Mask after adjustment | [10 empty] | SSM
AM retested | 11 | [10 empty] | 3M | Pass | 284.91 | 231.25 | 152.11 | 198.2 | 73.09 | 127.32 | 292.31 | 157.62 | 1 | N95 Mask after adjustment
PS retested | 7 | [10 empty] | 3M | Pass | 2676.22 | 1529.46 | 1685.58 | 1465.1 | 779.09 | 1156.25 | 3055.79 | 1464.75 | 1
IO | 26 | [10 empty] | 3M | Pass | 174 | 436 | 161 | 218 | 91 | 286 | 81 | 153 | 0 | TBC
VA | 27 | [10 empty] | Kimberley | Pass | 48.5 | 47.3 | 20.5 | 18 | 25.8 | 7.1 | 12.5 | 17.2 | 0 | Sucks | 21.5 | 22.8 | 25.6 | 23.1 | 14.2 | 19.1 | 19.2 | 20.1 | 0 | 1 | SSM M-DS20 | ClearGuard | Very comfortable to breathe
DC first | 10 | 2020-05-09 | [9 empty] | 3M | Pass | 276 | 270 | 82 | 83 | 54 | 162 | 225 | 115.3098 | 0
JW | 36 | 2020-05-21 | [9 empty] | 3M | Pass | 75 | 74 | 83.6 | 101 | 48 | 36.4 | 73.21 | 63.2 | 0 | retest
CT | 29 | 2020-05-21 | [9 empty] | 3M | Pass | 149 | 153 | 127.6 | 143.3 | 93.6 | 126.4 | 178.5 | 134 | 1 | retest | 204 | 241 | 143 | 157 | 203 | 132 | 213 | 177 | 1 | 0 | SSM | AirGuard | Neck Strap loose, stubbles
MD retest | 56 | 2020-05-22 | [9 empty] | 3M | Pass | 75 | 29 | 69.5 | 52.4 | 23 | 19 | 34.5 | 33.7 | 0 | retest
MD retest | 56 | 2020-05-22 | [9 empty] | 3M-1870S | Pass | 289.7 | 149.4 | 173 | 47.6 | 96 | 117 | 105 | 107 | 0 | retest
JM | 41
LF | 5 | [10 empty] | 1870+ | Pass | 597 | 106 | 159 | 119 | 88 | 51 | 345 | 117.3085 | 0 | 0
SK | 46 | [10 empty] | 3M-1870+ | Pass | 415 | 250 | 209 | 222 | 151 | 192 | 284 | 225 | 0
WN | 23 | 2020-05-23 | [21 empty] | 1329 | 1474 | 2853 | 8753 | 2675 | 2571 | 3273 | 2362 | 1 | 0 | Duo 2xI 1xE | Hydro Mini x2 | small room
WN | 23 | 2020-05-23 | [21 empty] | 357 | 445 | 449 | 416 | 404 | 431 | 425 | 416 | 1 | 0 | Duo 1xI 2xE | AirGuard x 1 | small room
WN | 23 | 2020-05-23 | [21 empty] | 14963 | 6265 | 99999999 | 43020 | 789 | 8591 | 58572 | 4235 | 1 | 0 | Duo 2xI 1xE | Hydro x2 Tav x1 | small room
VA | 27 | 2020-05-23 | [21 empty] | 262 | 272 | 270 | 271 | 244 | 297 | 386 | 281 | 1 | 0 | Duo 2 | AirGuard x 1
VA | 27 | 2020-05-24 | [21 empty] | 1095 | 148 | 568 | 680 | 808 | 495 | 490 | 432 | 1 | 0 | Duo 2 | Mini x2 | S3 valve 2 issue, getting caught on harness
VA | 27 | 2020-05-24 | [21 empty] | 2809 | 2520 | 4351 | 2063 | 1124 | 4003 | 2426 | 2318 | 1 | 1 | Duo 2 | Mini x2 | T3 valve 1
VA | 27 | 2020-05-24 | [21 empty] | 2060 | 1535 | 1334 | 2567 | 1220 | 351 | 846 | 982 | 1 | 1 | Duo 2 | Mini x2 | S3 valve 2 issue again
HP | 105 | 2020-05-25 | 34 | F | 157 | 59 | 23.9361 | 149 | 115 |  | 108 | 1860S | Pass | 53.6 | 48.2 | 37.7 | 30.2 | 24.5 | 17.4 | 40.2 | 31.5 | 0 | retest | 1011 | 336 | 48.5 | 618 | 30.4 | 364 | 937 | 111 | 0 | 0 | Duo 1 | Mini x2 | large room | Q1-3 | [12 empty] | WN
HP | 105 | 2020-05-25 | 34 | F | 157 | 59 | 23.9361 | 149 | 115 |  | 108 | 1860S | Pass | 93.9 | 64.9 | 52 | 31.6 | 24.9 | 6.4 | 32.2 | 23 | 0 | 0 | 872 | 489 | 50 | [6 empty] | 1 | Duo | Mini x 2 | large room
AC | 106 | 2020-05-25 | [9 empty] | 1870+ | Pass | 607 | 378 | 739 | 193 | 162 | 200 | 357 | 282 | 1 | 1
AC | 106 | 2020-05-25 | 35 | F | 165 | 64 | 23.5078 | 149 | 128 |  | 108 | 1870+ | Pass | 565 | 438 | 279 | 56.6 | 35.34 | 19.2 | 59.4 | 57.2 | 0 | 0 | 716 | 772 | 584 | 539 | 126 | 448 | 770 | 394.8789 | 1 | 1 | Duo 3 | Mini x2 | large room | Q1-3 | 32975 | 1575 | 5681 | 303 | 101 | 1852 | 313 | 394 | 1 | AirGuard | 4 | 4 | WN | Can't nod down, very muffled
CM | 18 | 2020-05-25 | [9 empty] | 1870+ | Pass | 409 | 210 | 103.45 | 217 | 78 | 194 | 415 | 201 | 1 | 1
AS | 16 | 2020-05-26 | [9 empty] | 1860 | Pass | 1293 | 273 | 253 | 319 | 198 | 159 | 667 | 287.323 | 1
WN | 23 | 2020-05-26 | [21 empty] | 1575 | 1058 | 1186 | 1188 | 1328 | 1094 | 1119 | 1202 | 1 | 0 | Duo 2 | Air Guard x2 | large room
WN | 23 | 2020-05-26 | [21 empty] | 1183 | 488 | 723 | 657 | 1003 | 565 | 638 | 691 | 1 | 0 | Duo 2 | Mini x2, Valve 24, T3 | large room
WN | 23 | 2020-05-27 | [21 empty] | 1735 | 2229 | 1462 | 1894 | 2761 | 2250 | 3004 | 2073 | 1 | 1 | Duo 1 | Mini x2, Valve 24, T3 | small room
WN | 23 | 2020-05-27 | [21 empty] | 2698 | 4479 | 3706 | 3353 | 5206 | 2828 | 2921 | 3415 | 1 | 1 | Duo 1 | Mini x2, Valve 23, T3 | small room
HP | 105 | 2020-05-27 | 34 | F | 157 | 59 | 23.9361 | 149 | 115 |  | 108 | 1870+ | Pass | 907 | 600 | 399 | 93 | 234 | 152 | 333 | 234.2421 | 1 | 1 | 1556 | 1536 | 1051 | 1621 | 1369 | 1321 | 994 | 1307 | 1 | 0 | SSM | AirGuard x 1 | small room | Q1-3 | 10365 | 13665 | 8012 | 7888 | 1096 | 13475 | 30529 | 4859.0129 | 1 | AirGuard | 4 | 4 | WN
MD first | 39 | 2020-05-22 | 56 | F | 152 | 49 | 21.2084 | 134 | 108 | 1 | 93 | [24 empty] | small room | 181 | 1618 | 95.2 | 177 | 1298 | 11.6 | 95 | 56 | 0 | 0 | Q1-3 | AirGuard x 1
WN | 23 | 2020-05-28 | 40 | M
AM | 11 | 2020-05-28 | 32 | N | [19 empty] | 659 | 572 | 725 | 1286 | 198 | 485 | 673 | 499 | 1 | 0 | Duo3 | Mini x2, Exp T3 flat seat, unshaven | [16 empty] | SSM Duo 3 | 3473 | 1550 | 2550 | 1608 | 2733 | 3980 | 14787 | 2660 | Comfort 5 | Breathing 4 | Unshaven | SSM Big Red, Mini x2
RC | 49 | 2020-05-29 | 31 | F | [7 empty] | 1870+ | Pass | 16.1 | 36.4 | 19.5 | 15.4 | 72.7 | 52.4 | 34.6 | 26 | 0 | 1
RC | 49 | 2020-05-29 | 31 | F | [7 empty] | 1860S | Pass | 36.2 | 21.4 | 39.8 | 42.8 | 17 | 20 | 29.4 | 26.3 | 0 | 1
ML | 35 | 2020-05-29 | 49 | M | [7 empty] | 1860 | Pass | 97 | 69 | 88 | 45.5 | 48.5 | 49.7 | 64.5 | 104 | 0 | 1
TF | 51 | 2020-05-29 | 35 | M | [7 empty] | 8210 | Pass | 70 | 50.4 | 50.6 | 57.3 | 39 | 90.7 | 68 | 57 | 0 | 1
WN | 40 | 2020-05-29 | 40 | M | [19 empty] | 35 | 49 | 58 | 55 | 49 | 24 | 46 | 41 | 0 | 0 | Duo4 | Fisher Paykal RT019 x2 | small room
WN | 40 | 2020-05-29 | 40 | M | [19 empty] | 48 | 42 | 64 | 77 | 35 | 79 | 54 | 53 | 0 | 0 | Duo4 | Intersurgical ClearGuard x2 | small room
AM | 57 | 2020-06-02 | 42 | M | [7 empty] | 1870+ | Pass | 363 | 453 | 589 | 736 | 153 | 743 | 212 | 339 | 1 | 1 | 747 | 1667 | 683 | 5220 | 24812 | 796 | 1537 | 1185 | 1 | 0 | Duo 5 | Low riding
| 58 | 2020-06-02 | 30 | M | 180 | 66 | 20.3704 | 136 | 126 |  | 115 | 1870+ | Pass | 439 | 247 | 445 | 341 | 274 | 321 | 374 | 334 | 1 | 0 | 3018 | 4146 | 10045 | 6932 | 3445 | 5690 | 10119 | 5068.0612 | 1 | 0 | Duo 1 | Stubbles, cannot use results
JH | 59 | 2020-06-02 |  | M | [7 empty] | 1860 | Pass | 181 | 44 | 59 | 109 | 22.3 | 69.8 | 141 | 58 | 0 | 0
EWS | 55 | 2020-06-01 | 59 | F | 157 | 57 | 23.1247 | 131 | 116 | 3 | 101 | 1870+ | Pass | 787 | 196 | 478 | 495 | 121 | 343 | 240 | 271 | 1 | 0
MM | 61 | 2020-06-08 | 50 | F | 155 | 67.5 | 28.0957 | 138 | 106 |  | 94 | 9105 | Pass | 491 | 142 | 84.7 | 101 | 147 | 66 | 95.1 | 111 | 1 | 0 | 1591 | 1467 | 1560 | 1404 | 965 | 1722 | 2865 | 1518 | 1 | 0 | Duo 1 | Too Big for her, no nose bridge at all | 4,5
VA | 27 | 2020-06-17 |  | M | [19 empty] | 8858 | 28508 | 7773 | 7818 | 1344 | 13188 | 39143 | 5601 | 1 | 0 | Duo Int | Mini x2 (old), Red big (MERV14)
WN | 23 | 2020-06-17 |  | M | [19 empty] | 25734 | 33440 | 23801 | 13092 | 2203 | 12382 | 8750 | 8372 | 1 | 0 | Duo Nos | Mini x2 (old), Red big (MERV14)
AM | 1 | 2020-06-17 | 40 | M | [19 empty] | 244.15 | 238 | 301 | 1180 | 891 | 367 | 639 | 392 | 1 | 0 | Duo Int | Mini x 2, Red Big (H100) | UNSHAVED, lots of chin hair
CI | 17 | 2020-06-18 | 46 | M | [19 empty] | 4466 | 1936 | 2927 | 20615 | 92.9 | 58.2 | 413 | 222 | 1 | 0 | Duo Int | SHOUTING during talking, shifted mask position, therefore repeated
GA | 24 | 2020-06-18 | 36 | M | [19 empty] | 2293 | 3101 | 2558 | 4121 | 395 | 1925 | 1635 | 1385 | 1 | 1 | Duo 5 | Red T3, Minix2 | confort 4 breathing 5 Unshaved
RC | 49 | 2020-06-19 | 31 | F | [19 empty] | 21 | 24 | 6.5 | 29 | 92.4 | 7.4 | 218 | 16 | 0 | 0 | Panon
GR | 63 | 20020-06-19 | 46 | M | [7 empty] | 1860 | Pass | 103.45 | 130.6 | 93.24 | 26.14 | 215.67 | 67.9 | 86.99 | 72.05 | 0 | 0
KH | 64 | 2020-06-19 | 44 | F | [7 empty] | 1870 | Pass | 1032.96 | 442.18 | 683.65 | 608.86 | 464.54 | 536.9 | 842.48 | 606.7 | 1 | 1
TL | 66 | 2020-06-19 | 63 | M | [7 empty] | 1870+ | Pass | 513.16 | 145.87 | 258.83 | 287.72 | 202.87 | 121.15 | 222 | 201 | 1 | 1
NA | TBC | 2020-06-05 | TBC | TBC | [19 empty] | 16162 | 36060 | 9841 | 2246 | 2157 | 11556 | 28326 | 5728 | 1 | 0 | Duo 1 | Red T3, Mini x 2 (new) | 4/5. Feels good, easy to breathe | Duo 1 | 16162 | 36060 | 9841 | 2246 | 2157 | 11556 | 28326 | 5728 | 1 | 0 | M | Red T3, Mini x 2 (new) | 4 | 5 | feels good, easy to breathe
AG | 22 | 2020-06-22 | 34 | F | Duo nos | 7796 | 13864 | 5402 | 4439 | 1163 | 51 | 8453 | 329 | Run #1: 1; Run #2: 1; Run #3: too much moviment during bend over
AG | 22 | 2020-06-22 | 34 | F | Duo nos RETEST | 35284 | 8194 | 7749 | 14400 | 2085 | 30413 | 11235 | 7366 | Run #1: 1; Run #2: 1; Run #3: LESS MOVIMENT DURING BENDING
AG | 22 | 2020-06-22 | 34 | F | Duo Nos first | 38051 | 7434.99 | 20168 | 42246 | 3796 | 38.32 | 12771 | 262.44 | Run #1: 1; Run #2: 0; Run #3: Exp Cap displaced, due to excessive movement and loose neck strap
TF | 51 | 2020-06-22 | 34 | M | Panon | 97 | 200 | 14.7 | 130.4 | 203 | 221 | 611 | 68.6 | Run #1: 0; Run #2: 1; Run #3: A bit tight, very unreliable scores despite good fit, jumps between hundreds to tens, I ensured good fit and no obvious leak and tested 3 times.
CV | 50 | 2020-06-23 | 26 | F | Panon | 69.1 | 303 | 200 | 28.1 | 483 | 29.1 | 127 | 68.2 | Run #1: 0; Run #2: 1; Run #3: mostly likely source of leak is nose/chin during turning
CV | 50 | 2020-06-19 | 26 | F | Panon | 6.31 | 10.79 | 9.02 | 14.1 | 19.62 | 8.37 | 17.22 | 10.58 | Run #1: 0; Run #2: 0
AS | 16 | 2020-04-25 |  | M | SSM Proto | 196 | 118 | 93 | 127 | 83 | 92 | 104 | 108 | Run #1: 0; Run #2: 0; Run #3: Nasal Tear but forced fit
WN | 23 | 2020-04-25 | 40 | M | SSM Proto | 43351 | 14444 | 3 | 193 | 2133 | 1570 | 1036 | 21 | Run #1: 0; Run #2: 0; Run #3: Nasal Tear in middle of run
Ve | XX | 2020-06-24 |  | F | Duo Nos | 5896 | 4141 | 3910 | 6716 | 722 | 324 | 12944 | 1307 | Run #1: 1; Run #2: 0; Run #3: talking while bedning, if in study, would have to redo this run
Note on CR1: Microsoft Office User: first time tested with FiltaGuard
Note on X32: William Ng: 2nd retest, this time on new model
Note on B51: William Ng: EWS needs mask test
Note on Y57: William Ng: 2020-06-05
Note on Y62: Microsoft Office User: 2020-06-05 Friday, which volunteer? I placed in ID-32 as that had data fromID-10 for no reason
Note on AI62: William Ng: Not ALICE, unsure when tested
Note on AL62: Microsoft Office User: Need to confirm. I found DC's (ID10) info here (VA testing) 2020-06-18
Note on AM62: Microsoft Office User: 2020-06-05 Friday, which volunteer?
Note on AW62: William Ng: Not ALICE, unsure when tested
Note on L65: William Ng: Exp Valve Cap dislodged and replaced, shifting mask Chin leak when bending
Note on N68: Microsoft Office User: I will retest 22 Jun

## Info
Run #1 | Normal Breathing | Wt Calculator | Ht Calculator
Run #2 | Deep Breathing | 125 | 71
Run #3 | Head Side-to-Side | 56.8182 | 180.34
Run #4 | Head Up-and-Down
Run #5 | Talking out loud
Run #6 | Bending over
Run #7 | Normal Breathing
|  |  |  | Panel Cell No. | Distribution (%) | Number of Subjects | We have
|  |  |  | 1 | 5.5 | 1
|  |  |  | 2 | 5.3 | 1
|  |  |  | 3 | 10.5 | 2
|  |  |  | 4 | 25 | 4
|  |  |  | 5 | 7.1 | 1
|  |  |  | 6 | 5.7 | 1
|  |  |  | 7 | 21.3 | 4
|  |  |  | 8 | 8.7 | 2
|  |  |  | 9 | 5.2 | 1
|  |  |  | 10 | 3.5 | 1
Note on E2: William Ng: lb to kg
Note on F2: William Ng: in to cm

## Fit_Tests 1
3DP SSM Testing |  | Use NA for null, this is not 0
AccuFit 9000 |  | Get participants to take of hat and glasses first before wearing stop-gap masks | [10 empty] | 1 - Normal | 2 - Deep | 3 - Side-Side | 4 - Nodding | 5 - Talking | 6 - Bending | 7 - Normal | FF - Harmonic Average | 3M Overall Pass |  | 1 - Normal | 2 - Deep | 3 - Side-Side | 4 - Nodding | 5 - Talking | 6 - Bending | 7 - Normal |  | Prototype Overall Pass |  |  |  | AirGuard Overall Pass
CSA Z94.4.18 |  | If NIOSH grid does not fit participant, we can nominate closest NIOSH panel number for analysis
|  | Demographic Information | [8 empty] | Bitrex tested 3M N95 | [11 empty] | Prototypes | [12 empty] | Feedback |  | Comments
Study ID | Date of Test | Age | Sex | Height | Weight | BMI | Face Width | Face Length | NIOSH Panel | Naso-Sellion Distance | 3M Model | Neg Pressure | Run #1 | Run #2 | Run #3 | Run #4 | Run #5 | Run #6 | Run #7 | Overall FF | Pass/Fail | Retest | Run #1 | Run #2 | Run #3 | Run #4 | Run #5 | Run #6 | Run #7 | Overall FF | Pass/Fail | Retest | Mask Type | Mask Size | Filter Type | Comfort | Breathing | Comments | [12 empty] | Test Operator
1 | 2020-05-06 | 40 | M | 180.4 | 100 | 30.7275 | 137 | 136 | 9 | 105 | 1860 | Pass | 198.48 | 177.71 | 136.25 | 97.55 | 47.43 | 113.09 | 145.04 | 107.565 | 0 | 0 | 4172.07 | 27935.9 | 27504.75 | 14617.13 | 1541.47 | 14862.95 | 5013.72 | 5402.4 | 1 | 0 | SSM-D20 | M | AirGuard | 3 | 4 | Straps kept popping off during donning | [12 empty] | AS
2 | 2020-05-07 | 62 | F | 171.5 | 71.4 | 24.2756 | 121 | 125 | 6 | 100 | 1870+ | Pass | 2026 | 934 | 1372 | 4408 | 482 | 465 | 778 | 871.672 | 1 | 0 | 99999999 | 25959.05 | 10240.16 | 16958.36 | 4234.82 | 2675.3 | 99999999.99 | 8694.65 | 1 | 0 | SSM-D20 | M | AirGuard | 4 | 4 | Volunteer found they had to mouth breathe a lot, but it was very easy to breathe. | [12 empty] | AS
3 | 2020-05-05 | 44 | M | 172 | 75 | 25.3515 | 132 | 126 | 7 | 120 | 1870+ | Pass | 767 | 143 | 975 | 1222 | 367 | 302 | 1247 | 412.2803 | 1 | 0 | 99999999.99 | 10701.59 | 99999999.99 | 21075.01 | 2467.11 | 12724.02 | 18986.85 | 10332.02 | 1 | 0 | SSM-D20 | M | AirGuard | 4 | 4 | [13 empty] | AS
4 | 2020-05-07 | 35 | F | 157.5 | 47.7 | 19.229 | 144 | 110 | 4 | 85 | 1870+ | Pass | 8.13 | 5.19 | 7.92 | 9.27 | 21.53 | 6.9 | 9.73 | 8.2942 | 0 | 0 | 8590.05 | 11560.94 | 50606.63 | 4880.49 | 6017.73 | 27551.75 | 99999999.99 | 11110.22 | 1 | 1 | SSM-D20 | M | AirGuard | 3.5 | 4 | 2nd Run after failing the first time | [12 empty] | AS
5 | 2020-05-07 | 66 | M | 175 | 69 | 22.5306 | 141 | 119 | 7 | 100 | 1870+ | Pass | 597 | 106 | 159 | 119 | 88 | 51 | 345 | 117.3085 | 0 | 0 | 2380.53 | 3725.67 | 3238.58 | 3548.77 | 1127.64 | 4882.48 | 3428.3 | 2629.25 | 1 | 0 | SSM-D20 | M | AirGuard | 3 | 5 | [13 empty] | AS
6 | 2020-05-07 | 47 | M | 190.5 | 113.6 | 31.3032 | 140 | 130 | 9 | 110 | 1860 | Pass | 55 | 30 | 49 | 39 | 40 | 50 | 141 | 46.7738 | 0 | 0 | 11144.24 | 7762.25 | 8716.52 | 7422.18 | 390.28 | 3130.88 | 8338.26 | 2017.53 | 1 | 0 | SSM-D20 | M | AirGuard | 4.5 | 4 | Only able to mouth breathe | [12 empty] | AS
7 | 2020-05-07 | 70 | M | 167 | 72.7 | 26.0676 | 132 | 118 | 3 | 10.5 | 1870+ | Pass | 33.22 | 97.88 | 87.16 | 38.73 | 30.55 | 13.51 | 19.74 | 29.79 | 0 | 0 | 44311.82 | 99999999.99 | 99999999.99 | 4500.29 | 7248.16 | 99999999.99 | 99999999.99 | 18287.21 | 1 | 0 | SSM-D20 | M | AirGuard | 3 | 3 | Found significant resistance to breathing | [12 empty] | AS
8 | 2020-05-07 | 32 | F | 167 | 64 | 22.9481 | 117 | 114 | NA | 95 | 1870+ | Pass | 2368.05 | 346.23 | 1054.18 | 581.28 | 640.39 | 784.89 | 367.45 | 606.7667 | 1 | 0 | 99999999.99 | 21063.41 | 16710.12 | 7149.92 | 3460.6 | 19645.2 | 41004.29 | 11448.22 | 1 | 0 | SSM-D20 | M | AirGuard | 2 | 4 | [13 empty] | AS
9 | 2020-05-07 | 34 | M | 180 | 72.7 | 22.4383 | 129 | 129 | 6 | 105 | 1860 | Pass | 487.2 | 429.76 | 715.84 | 721.4 | 235.53 | 510.38 | 542.23 | 460.1666 | 1 | 0 | 63515.24 | 99999999.99 | 117942.15 | 9999999999.99 | 6439.1 | 99999999.99 | 114392.75 | 37175.5 | 1 | 0 | SSM-D20 | M | AirGuard | 4 | 5 | [13 empty] | AS
10 | 2020-05-21 | 36 | M | 185 | 79.5 | 23.2286 | 121 | 119 | 6 | 105 | 8210 | Pass | 108.4 | 111.8 | 148.25 | 128.06 | 164.1 | 114.2 | 199.2 | 133.1 | 1 | 1 | 169950.25 | 171987.7 | 90670.08 | 4010.92 | 18129.08 | 59878.07 | 25995.29 | 18306.6 | 1 | 0 | SSM-D20 | M | AirGuard | 4 | 4 |  | Q1 | 8764 | 11576 | 58756 | 27193 | 856 | 5653 | 13905 | 4187 | AirGuard | 5 | 4 | AS/WN
11 | 2020-05-08 | 32 | M | 182 | 90 | 27.1706 | 148 | 135 | 10 | 120 | 1860 | Pass | 98.81 | 77.56 | 27.87 | 53.15 | 66.83 | 30.52 | 40.53 | 46.6321 | 0 | 0 | 1454 | 304 | 125 | 430 | 1297 | 911 | 1172 | 411.1659 | 1 | 0 | SSM-D20 | M | AirGuard | 4 | 4 | Unshaved, straps outside hood. Filter coming loose during run # 3 - did a separate test to replace that run. | [12 empty] | WN
12 | 2020-05-08 | 35 | M | 170 | 62 | 21.4533 | 126 | 120 | 6 | 104 | 1860 | Pass | 162 | 304 | 379 | 623 | 71.5 | 141 | 275 | 182.1942 | 1 | 0 | 43783 | 45135 | 18215 | 6454 | 2039 | 7391 | 48154 | 77884 | 1 | 0 | SSM-D20 | M | AirGuard | 4 | 4 | Nose padding to clse to nose bridge, flanges block nose | [12 empty] | WN
13 | 2020-05-08 | 31 | F | 163 | 58 | 21.83 | 121 | 115 | 3 | 100 | 1870+ | Pass | 1877 | 3064 | 1380 | 1335 | 574 | 810 | 2292 | 1218.2673 | 1 | 0 | 25913 | 10208 | 30872 | 15709 | 1199 | 53426 | 99999999.99 | 6451 | 1 | 0 | SSM-D20 | M | AirGuard | 3 | 4 | Nose bridge is uncomfortable, and and glass don't fit onto nose | [12 empty] | WN
14 | 2020-05-09 | 29 | F | 164 | 54 | 20.0773 | 115 | 114 | NA | 90 | 1870+ | Pass | 1395 | 409 | 665 | 696 | 611 | 372 | 526 | 567.7971 | 1 | 0 | 49093 | 10763 | 7802 | 2499 | 1091 | 68742 | 24053 | 4337 | 1 | 0 | SSM-D20 | M | AirGuard | 3 | 5 | fits glasses okay, mask does extend | [12 empty] | WN
15 | 2020-05-10 | 33 | M | 178 | 74 | 23.3556 | 132 | 130 | 6 | 105 | 8210 | Pass | 777.56 | 369.77 | 490.08 | 234.05 | 367.66 | 443.08 | 692.2 | 418.5343 | 1 | 0 | 2508.4 | 3460.08 | 2467.79 | 4767.99 | 2598.7 | 3244.5 | 1497.24 | 2628.08 | 1 | 0 | SSM-D20 | M | AirGuard | 4 | 5 | [13 empty] | AS
16 | 2020-05-11 | 33 | M | 186 | 85 | 24.5693 | 135 | 127 | 7 | 102 | 1870+ | Pass | 1293 | 273 | 253 | 319 | 198 | 159 | 667 | 287.323 | 1 | 0 | 99999999.99 | 25005.16 | 57789 | 17914.84 | 1936.41 | 61832.75 | 99999999.99 | 10840.47 | 1 | 0 | SSM-D20 | M | AirGuard | 4 | 4 | [13 empty] | WN
17 | 2020-05-11 | 46 | M | 178 | 75 | 23.6713 | 133 | 126 | 6 | 105 | 1870+ | Pass | 161.69 | 134.29 | 184.13 | 84.57 | 233.69 | 138.67 | 270.25 | 151.9179 | 1 | 0 | 27741.13 | 2729.55 | 6124.81 | 26406 | 2885.47 | 7134.07 | 99999999.99 | 6420.29 | 1 | 0 | SSM-D20 | M | AirGuard | 4 | 4 | [13 empty] | AS
18 | 2020-05-11 | 55 | F | 163 | 67.7 | 25.4808 | 116 | 110 | NA | 90 | 1860S | Pass | 134 | 48 | 132 | 139 | 43 | 70.19 | 138 | 79.9 | 0 | 1 | 6302.81 | 4167.24 | 3221.63 | 4757.16 | 619.18 | 2008.13 | 15225.4 | 2259.58 | 1 | 0 | SSM-D20 | M | AirGuard | 3 | 4 | [13 empty] | AS
19 | 2020-05-11 | 42 | M | 180 | 98.9 | 30.5247 | 135 | 132 | 9 | 110 | 1870+ | Pass | 120 | 240 | 192 | 237 | 125 | 118 | 117 | 149 | 1 | 0 | 17210.48 | 7457.45 | 53251.97 | 57043.76 | 1133.47 | 61842.89 | 99999999.99 | 6211.5448 | 1 | 0 | SSM-D20 | M | AirGuard | 2 | 1 | Very difficult to breathe. Said he could not wear mask for a whole case. Tube fell off. | [12 empty] | AS
20 | 2020-05-11 | 29 | F | 167 | 58 | 20.7967 | 116 | 110 | NA | 97.5 | 1870+ | Pass | 48.58 | 74.1 | 41.21 | 40.9 | 25.78 | 39.85 | 52.25 | 42.22 | 0 | 1 | 22803.76 | 51519.13 | 99999999.99 | 4387.1 | 1934.46 | 99999999.99 | 85100.67 | 8537.48 | 1 | 0 | SSM-D20 | M | AirGuard | 2 | 3 | [13 empty] | AS
21 | 2020-05-13 | 37 | M | 178 | 72.7 | 22.9453 | 126 | 115 | 3 | 95 | 8210 | Pass | 432.84 | 321.21 | 238.19 | 155.21 | 183.96 | 120.35 | 180.16 | 197.96 | 1 | 0 | 49760.84 | 999.99 | 15234.81 | 44310.55 | 659.05 | 6057.76 | 99999999.99 | 2508.02 | 1 | 0 | SSM-D20 | M | AirGuard | 3 | 5 | [13 empty] | AS
22 | 2020-05-13 | 34 | F | 168 | 54 | 19.1327 | 112 | 120 | NA | 100 | 1860 | Pass | 231.8 | 58.85 | 242.73 | 126.41 | 73 | 28 | 179 | 79 | 0 | 0 | 1990.6 | 1322.21 | 1043.29 | 1479.68 | 859.36 | 2365.5 | 6281.92 | 1509.08 | 1 | 0 | SSM-D20 | M | AirGuard | 3 | 2 | [13 empty] | AS
23 | 2020-05-14 | 40 | M | 169 | 53 | 18.5568 | 128 | 110 | 3 | 92 | 1870+ | Pass | 980.47 | 441.23 | 750.38 | 576.82 | 350.82 | 643.04 | 829.86 | 585.06 | 1 | 0 | 44216.95 | 43703.42 | 78311.8 | 64417.05 | 1885.82 | 42290.21 | 99999999.99 | 11167.6 | 1 | 0 | SSM-D20 | M | AirGuard | 4 | 4 | [13 empty] | AS
24 | 2020-05-14 | 36 | M | 178 | 83 | 26.1962 | 135 | 124 | 7 | 115 | 8210 | Pass | 269.68 | 120.25 | 149.17 | 131.27 | 97.77 | 179.59 | 365.92 | 155.99 | 1 | 0 | 28368.31 | 7914.87 | 14597.25 | 5531.33 | 2414.89 | 15527.22 | 46180.53 | 7683.5 | 1 | 1 | SSM-D20 | M | AirGuard | 2 | 3 | [13 empty] | AS
25 | 2020-05-14 | 36 | M | 190 | 110 | 30.4709 | 139 | 117 | 4 | 95 | 1860 | Pass | 174.85 | 93.82 | 187.36 | 127.94 | 112.95 | 134.34 | 220.89 | 139.01 | 1 | 0 | 153412.7 | 134286.45 | 99999999.99 | 1436.53 | 4865.83 | 17314.1 | 31200.75 | 6962.28 | 1 | 0 | SSM-D20 | M | AirGuard | 4.5 | 5 |  |  | TME Q1-3 | [10 empty] | AS
26 | 2020-05-14 | 31 | F | 168 | 53 | 18.7783 | 123 | 115 | 3 | 90 | 1860S | Pass | 124 | 108 | 116 | 131 | 154 | 70 | 167 | 116 | 1 | 1 | 137.97 | 436.38 | 160.78 | 218.4 | 90.87 | 285.68 | 431.29 | 188.3658 | 1 | 1 | SSM-D20 | M | AirGuard | 3 | 3 | Prominent nose, narrow chin, thin | Model | Run 1 | Run 2 | Run 3 | Run 4 | Run 5 | Run 6 | Run 7 | Overall FF | Filter | Comfort | Breathe | AS
27 | 2020-05-18 | 30 | M | 174 | 80 | 26.4236 | 147 | 129 | 10 | 100 | 1860 | Pass | 157.4 | 99.7 | 95.7 | 112.5 | 88.4 | 71.1 | 130.7 | 101.8 | 0 | 0 | 17785 | 7471 | 7392 | 12133 | 1464 | 27121 | 18494 | 5923 | 1 | 0 | SSM-D20 | M | AirGuard | 4 | 4 | Good Fit | Q1-3 | 24574 | 99999999 | 99999999 | 66327 | 15050 | 4702 | 74279 | 20092 | AirGuard | 5 | 4 | WN
32 | 2020-05-21 | 36 | M | 183 | 76 | 22.694 | 143 | 130 | 9 | 120 | 1870+ | Pass | 167.5 | 96.1 | 134 | 160.5 | 128.9 | 109.7 | 162.5 | 131.8 | 1 | 0 | 8209 | 70152 | 10602 | 92753 | 3099 | 99999999 | 99999999 | 12414 | 1 | 0 | SSM-D20 | M | AirGuard | 3.5 | 4 | Muffled | Q1-3 | 15832 | 10259 | 6879 | 3763 | 2367 | 21509 | 12576 | 6249 | AirGuard | 4 | 4 | WN
28 | 2020-05-21 | 43 | F | 161 | 52 | 20.061 | 124 | 111 | 3 | 100 | 1860S | Pass | 156 | 87.9 | 142.5 | 150.7 | 138.5 | 105 | 332 | 136.7 | 1 | 0 | 6833 | 7480.1 | 4661.8 | 2345 | 8157 | 14181 | 79249 | 6213 | 1 | 0 | SSM-D20 | M | AirGuard | 4 | 4 |  | Q1-3 | 30862 | 30345 | 15934 | 1862 | 9308 | 3947 |  |  | AirGuard | 5 | 4 | WN | Straps cutting into eyes, touches
36 | 2020-05-21 | 35 | F | 163 | 54 | 20.3244 | 126 | 110 | 3 | 90 | 1860S | Pass | 34.7 | 31.5 | 35.5 | 62.3 | 25.4 | 7 | 42.2 | 23 | 0 | 0 | 6572 | 2532 | 62939 | 68726 | 5185 | 54260 | 20560 | 8358 | 1 | 0 | SSM-D20 | M | AirGuard | 3 | 3 | Muffled, but easier to breathe cc Q1-3 | Q1-3 | 7270 | 3381 | 6142 | 472 | 520 | 1069 | 99999999 | 1256 | AirGuard | 2 | 2 | WN | Nose digging a lot
34 | 2020-05-21 | 40 | F | 171 | 89 | 30.4367 | 137 | 111 | 4 | 96 | 1870+ | Pass | 619.5 | 557 | 584 | 424 | 156 | 234 | 309 | 327 | 1 | 1 | 47177 | 8592 | 5386 | 2224 | 1346 | 3268 | 25600 | 3761.6348 | 1 | 0 | SSM-D20 | M | AirGuard | 5 | 3 |  | Q1-3 | 4019 | 6951 | 31294 | 1278 | 4726 |  |  |  | AirGuard | 1 | 5 | WN | Restriction of verticla movement, straps blocking bottom visual fields
29 | 2020-05-21 | 35 | M | 179 | 79 | 24.6559 | 145 | 122 | 7 | 108 | 1860 | Pass | 52.94 | 99.5 | 111 | 103 | 81 | 79 | 112.5 | 86 | 0 | 0 | 1315 | 1952 | 1633 | 1542 | 1027 | 2314 | 12001 | 1740 | 1 | 1 | SSM-D20 | M | AirGuard | 4 | 4.5 | Needs to be tight for good fit | Q1-3 | 16462 | 12599 | 13684 | 17140 | 1797 | 15996 | 63064 | 7722 | AirGuard | 5 | 4.5 | WN | Muffled
55 | 2020-05-22 | 55 | F | 165 | 95 | 34.8944 | 124 | 125 |  | 99 | 1870+ | Pass | 443 | 467 | 531 | 496 | 167 | 155 | 407 | 302 | 1 | 0 | 91266 | 49532 | 16370 | 14504 | 7289 | 47485 | 46675 | 20537 | 1 | 0 | SSM-D20 |  | AirGuard | 3 | 3 | Heavy, drags down, glasses | Q1-3 | 62749 | 21275 | 18081 | 18081 | 1728 | 3272 | 15614 | 6295 | AirGuard | 4 | 5 | WN | straps in way of view
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
21
Note on V2: Microsoft Office User: can't override excel exclusion of zero....
Note on A8: William Ng: MM
Note on A9: William Ng: HD
Note on A11: Microsoft Office User: LF
Note on A12: Microsoft Office User: MG
Note on A16: Microsoft Office User: DC, retested 21 May 2020, old data in separate sheet
Note on A22: Microsoft Office User: AS
Note on A24: William Ng: CM
Note on A25: William Ng: BA
Note on AC25: Microsoft Office User: Average of lowest 3 runs, missing data, will be recorded in analysis as such.
Note on A38: William Ng: CT stubbles present

## Fit_Tests 2
3DP SSM Testing |  | Use NA for null, this is not 0
AccuFit 9000 |  | Get participants to take of hat and glasses first before wearing stop-gap masks | [10 empty] | 1 - Normal | 2 - Deep | 3 - Side-Side | 4 - Nodding | 5 - Talking | 6 - Bending | 7 - Normal | FF - Harmonic Average | 3M Overall Pass |  | 1 - Normal | 2 - Deep | 3 - Side-Side | 4 - Nodding | 5 - Talking | 6 - Bending | 7 - Normal |  | Prototype Overall Pass |  |  |  | AirGuard Overall Pass
CSA Z94.4.18 |  | If NIOSH grid does not fit participant, we can nominate closest NIOSH panel number for analysis
|  | Demographic Information | [8 empty] | Bitrex tested 3M N95 | [11 empty] | Prototypes | [12 empty] | Feedback |  | Comments
Study ID | Date of Test | Age | Sex | Height | Weight | BMI | Face Width | Face Length | NIOSH Panel | Naso-Sellion Distance | 3M Model | Neg Pressure | Run #1 | Run #2 | Run #3 | Run #4 | Run #5 | Run #6 | Run #7 | Overall FF | Pass/Fail | Retest | Run #1 | Run #2 | Run #3 | Run #4 | Run #5 | Run #6 | Run #7 | Overall FF | Pass/Fail | Retest | Mask Type | Mask Size | Filter Type | Comfort | Breathing | Comments | [12 empty] | Test Operator
1 | 2020-05-06 | 40 | M | 180.4 | 100 | 30.7275 | 137 | 136 | 9 | 105 | 1860 | Pass | 198.48 | 177.71 | 136.25 | 97.55 | 47.43 | 113.09 | 145.04 | 107.565 | 0 | 0 | 4172.07 | 27935.9 | 27504.75 | 14617.13 | 1541.47 | 14862.95 | 5013.72 | 5402.4 | 1 | 0 | SSM-D20 | M | AirGuard | 3 | 4 | Straps kept popping off during donning | [12 empty] | AS
2 | 2020-05-07 | 62 | F | 171.5 | 71.4 | 24.2756 | 121 | 125 | 6 | 100 | 1870+ | Pass | 2026 | 934 | 1372 | 4408 | 482 | 465 | 778 | 871.672 | 1 | 0 | 99999999 | 25959.05 | 10240.16 | 16958.36 | 4234.82 | 2675.3 | 99999999.99 | 8694.65 | 1 | 0 | SSM-D20 | M | AirGuard | 4 | 4 | Volunteer found they had to mouth breathe a lot, but it was very easy to breathe. | [12 empty] | AS
3 | 2020-05-05 | 44 | M | 172 | 75 | 25.3515 | 132 | 126 | 7 | 120 | 1870+ | Pass | 767 | 143 | 975 | 1222 | 367 | 302 | 1247 | 412.2803 | 1 | 0 | 99999999.99 | 10701.59 | 99999999.99 | 21075.01 | 2467.11 | 12724.02 | 18986.85 | 10332.02 | 1 | 0 | SSM-D20 | M | AirGuard | 4 | 4 | [13 empty] | AS
4 | 2020-05-07 | 35 | F | 157.5 | 47.7 | 19.229 | 144 | 110 | 4 | 85 | 1870+ | Pass | 8.13 | 5.19 | 7.92 | 9.27 | 21.53 | 6.9 | 9.73 | 8.2942 | 0 | 0 | 8590.05 | 11560.94 | 50606.63 | 4880.49 | 6017.73 | 27551.75 | 99999999.99 | 11110.22 | 1 | 1 | SSM-D20 | M | AirGuard | 3.5 | 4 | 2nd Run after failing the first time | [12 empty] | AS
5 | 2020-05-07 | 66 | M | 175 | 69 | 22.5306 | 141 | 119 | 7 | 100 | 1870+ | Pass | 597 | 106 | 159 | 119 | 88 | 51 | 345 | 117.3085 | 0 | 0 | 2380.53 | 3725.67 | 3238.58 | 3548.77 | 1127.64 | 4882.48 | 3428.3 | 2629.25 | 1 | 0 | SSM-D20 | M | AirGuard | 3 | 5 | [13 empty] | AS
6 | 2020-05-07 | 47 | M | 190.5 | 113.6 | 31.3032 | 140 | 130 | 9 | 110 | 1860 | Pass | 55 | 30 | 49 | 39 | 40 | 50 | 141 | 46.7738 | 0 | 0 | 11144.24 | 7762.25 | 8716.52 | 7422.18 | 390.28 | 3130.88 | 8338.26 | 2017.53 | 1 | 0 | SSM-D20 | M | AirGuard | 4.5 | 4 | Only able to mouth breathe | [12 empty] | AS
7 | 2020-05-07 | 70 | M | 167 | 72.7 | 26.0676 | 132 | 118 | 3 | 10.5 | 1870+ | Pass | 33.22 | 97.88 | 87.16 | 38.73 | 30.55 | 13.51 | 19.74 | 29.79 | 0 | 0 | 44311.82 | 99999999.99 | 99999999.99 | 4500.29 | 7248.16 | 99999999.99 | 99999999.99 | 18287.21 | 1 | 0 | SSM-D20 | M | AirGuard | 3 | 3 | Found significant resistance to breathing | [12 empty] | AS
8 | 2020-05-07 | 32 | F | 167 | 64 | 22.9481 | 117 | 114 | NA | 95 | 1870+ | Pass | 2368.05 | 346.23 | 1054.18 | 581.28 | 640.39 | 784.89 | 367.45 | 606.7667 | 1 | 0 | 99999999.99 | 21063.41 | 16710.12 | 7149.92 | 3460.6 | 19645.2 | 41004.29 | 11448.22 | 1 | 0 | SSM-D20 | M | AirGuard | 2 | 4 | [13 empty] | AS
9 | 2020-05-07 | 34 | M | 180 | 72.7 | 22.4383 | 129 | 129 | 6 | 105 | 1860 | Pass | 487.2 | 429.76 | 715.84 | 721.4 | 235.53 | 510.38 | 542.23 | 460.1666 | 1 | 0 | 63515.24 | 99999999.99 | 117942.15 | 9999999999.99 | 6439.1 | 99999999.99 | 114392.75 | 37175.5 | 1 | 0 | SSM-D20 | M | AirGuard | 4 | 5 | [13 empty] | AS
10 | 2020-05-21 | 36 | M | 185 | 79.5 | 23.2286 | 121 | 119 | 6 | 105 | 8210 | Pass | 108.4 | 111.8 | 148.25 | 128.06 | 164.1 | 114.2 | 199.2 | 133.1 | 1 | 1 | 169950.25 | 171987.7 | 90670.08 | 4010.92 | 18129.08 | 59878.07 | 25995.29 | 18306.6 | 1 | 0 | SSM-D20 | M | AirGuard | 4 | 4 |  | Q1 | 8764 | 11576 | 58756 | 27193 | 856 | 5653 | 13905 | 4187 | AirGuard | 5 | 4 | AS/WN
11 | 2020-05-08 | 32 | M | 182 | 90 | 27.1706 | 148 | 135 | 10 | 120 | 1860 | Pass | 98.81 | 77.56 | 27.87 | 53.15 | 66.83 | 30.52 | 40.53 | 46.6321 | 0 | 0 | 1454 | 304 | 125 | 430 | 1297 | 911 | 1172 | 411.1659 | 1 | 0 | SSM-D20 | M | AirGuard | 4 | 4 | Unshaved, straps outside hood. Filter coming loose during run # 3 - did a separate test to replace that run. | [12 empty] | WN
12 | 2020-05-08 | 35 | M | 170 | 62 | 21.4533 | 126 | 120 | 6 | 104 | 1860 | Pass | 162 | 304 | 379 | 623 | 71.5 | 141 | 275 | 182.1942 | 1 | 0 | 43783 | 45135 | 18215 | 6454 | 2039 | 7391 | 48154 | 77884 | 1 | 0 | SSM-D20 | M | AirGuard | 4 | 4 | Nose padding to clse to nose bridge, flanges block nose | [12 empty] | WN
13 | 2020-05-08 | 31 | F | 163 | 58 | 21.83 | 121 | 115 | 3 | 100 | 1870+ | Pass | 1877 | 3064 | 1380 | 1335 | 574 | 810 | 2292 | 1218.2673 | 1 | 0 | 25913 | 10208 | 30872 | 15709 | 1199 | 53426 | 99999999.99 | 6451 | 1 | 0 | SSM-D20 | M | AirGuard | 3 | 4 | Nose bridge is uncomfortable, and and glass don't fit onto nose | [12 empty] | WN
14 | 2020-05-09 | 29 | F | 164 | 54 | 20.0773 | 115 | 114 | NA | 90 | 1870+ | Pass | 1395 | 409 | 665 | 696 | 611 | 372 | 526 | 567.7971 | 1 | 0 | 49093 | 10763 | 7802 | 2499 | 1091 | 68742 | 24053 | 4337 | 1 | 0 | SSM-D20 | M | AirGuard | 3 | 5 | fits glasses okay, mask does extend | [12 empty] | WN
15 | 2020-05-10 | 33 | M | 178 | 74 | 23.3556 | 132 | 130 | 6 | 105 | 8210 | Pass | 777.56 | 369.77 | 490.08 | 234.05 | 367.66 | 443.08 | 692.2 | 418.5343 | 1 | 0 | 2508.4 | 3460.08 | 2467.79 | 4767.99 | 2598.7 | 3244.5 | 1497.24 | 2628.08 | 1 | 0 | SSM-D20 | M | AirGuard | 4 | 5 | [13 empty] | AS
16 | 2020-05-11 | 33 | M | 186 | 85 | 24.5693 | 135 | 127 | 7 |  | 1870+ | Pass | 1293 | 273 | 253 | 319 | 198 | 159 | 667 | 287.323 | 1 | 0 | 99999999.99 | 25005.16 | 57789 | 17914.84 | 1936.41 | 61832.75 | 99999999.99 | 10840.47 | 1 | 0 | SSM-D20 | M | AirGuard | 4 | 4 | [13 empty] | WN
17 | 2020-05-11 | 46 | M | 178 | 75 | 23.6713 | 133 | 126 | 6 | 105 | 1870+ | Pass | 161.69 | 134.29 | 184.13 | 84.57 | 233.69 | 138.67 | 270.25 | 151.9179 | 1 | 0 | 27741.13 | 2729.55 | 6124.81 | 26406 | 2885.47 | 7134.07 | 99999999.99 | 6420.29 | 1 | 0 | SSM-D20 | M | AirGuard | 4 | 4 | [13 empty] | AS
18 | 2020-05-11 | 55 | F | 163 | 67.7 | 25.4808 | 116 | 110 | NA | 90 | 1860S | Pass | 134 | 48 | 132 | 139 | 43 | 70.19 | 138 | 79.9 | 0 | 1 | 6302.81 | 4167.24 | 3221.63 | 4757.16 | 619.18 | 2008.13 | 15225.4 | 2259.58 | 1 | 0 | SSM-D20 | M | AirGuard | 3 | 4 | [13 empty] | AS
19 | 2020-05-11 | 42 | M | 180 | 98.9 | 30.5247 | 135 | 132 | 9 | 110 | 1870+ | Pass | 120 | 240 | 192 | 237 | 125 | 118 | 117 | 149 | 1 | 0 | 17210.48 | 7457.45 | 53251.97 | 57043.76 | 1133.47 | 61842.89 | 99999999.99 | 6211.5448 | 1 | 0 | SSM-D20 | M | AirGuard | 2 | 1 | Very difficult to breathe. Said he could not wear mask for a whole case. Tube fell off. | [12 empty] | AS
20 | 2020-05-11 | 29 | F | 167 | 58 | 20.7967 | 116 | 110 | NA | 97.5 | 1870+ | Pass | 48.58 | 74.1 | 41.21 | 40.9 | 25.78 | 39.85 | 52.25 | 42.22 | 0 | 1 | 22803.76 | 51519.13 | 99999999.99 | 4387.1 | 1934.46 | 99999999.99 | 85100.67 | 8537.48 | 1 | 0 | SSM-D20 | M | AirGuard | 2 | 3 | [13 empty] | AS
21 | 2020-05-13 | 37 | M | 178 | 72.7 | 22.9453 | 126 | 115 | 3 | 95 | 8210 | Pass | 432.84 | 321.21 | 238.19 | 155.21 | 183.96 | 120.35 | 180.16 | 197.96 | 1 | 0 | 49760.84 | 999.99 | 15234.81 | 44310.55 | 659.05 | 6057.76 | 99999999.99 | 2508.02 | 1 | 0 | SSM-D20 | M | AirGuard | 3 | 5 | [13 empty] | AS
22 | 2020-05-13 | 34 | F | 168 | 54 | 19.1327 | 112 | 120 | NA | 100 | 1860 | Pass | 231.8 | 58.85 | 242.73 | 126.41 | 73 | 28 | 179 | 79 | 0 | 0 | 1990.6 | 1322.21 | 1043.29 | 1479.68 | 859.36 | 2365.5 | 6281.92 | 1509.08 | 1 | 0 | SSM-D20 | M | AirGuard | 3 | 2 | [13 empty] | AS
23 | 2020-05-14 | 40 | M | 169 | 53 | 18.5568 | 128 | 110 | 3 | 92 | 1870+ | Pass | 980.47 | 441.23 | 750.38 | 576.82 | 350.82 | 643.04 | 829.86 | 585.06 | 1 | 0 | 44216.95 | 43703.42 | 78311.8 | 64417.05 | 1885.82 | 42290.21 | 99999999.99 | 11167.6 | 1 | 0 | SSM-D20 | M | AirGuard | 4 | 4 | [13 empty] | AS
24 | 2020-05-14 | 36 | M | 178 | 83 | 26.1962 | 135 | 124 | 7 | 115 | 8210 | Pass | 269.68 | 120.25 | 149.17 | 131.27 | 97.77 | 179.59 | 365.92 | 155.99 | 1 | 0 | 28368.31 | 7914.87 | 14597.25 | 5531.33 | 2414.89 | 15527.22 | 46180.53 | 7683.5 | 1 | 1 | SSM-D20 | M | AirGuard | 2 | 3 | [13 empty] | AS
25 | 2020-05-14 | 36 | M | 190 | 110 | 30.4709 | 139 | 117 | 4 | 95 | 1860 | Pass | 174.85 | 93.82 | 187.36 | 127.94 | 112.95 | 134.34 | 220.89 | 139.01 | 1 | 0 | 153412.7 | 134286.45 | 99999999.99 | 1436.53 | 4865.83 | 17314.1 | 31200.75 | 6962.28 | 1 | 0 | SSM-D20 | M | AirGuard | 4.5 | 5 |  |  | TME Q1-3 | [10 empty] | AS
26 | 2020-05-14 | 31 | F | 168 | 53 | 18.7783 | 123 | 115 | 3 | 90 | 1860S | Pass | 124 | 108 | 116 | 131 | 154 | 70 | 167 | 116 | 1 | 1 | 137.97 | 436.38 | 160.78 | 218.4 | 90.87 | 285.68 | 431.29 | 188.3658 | 1 | 1 | SSM-D20 | M | AirGuard | 3 | 3 | Prominent nose, narrow chin, thin | Model | Run 1 | Run 2 | Run 3 | Run 4 | Run 5 | Run 6 | Run 7 | Overall FF | Filter | Comfort | Breathe | AS
27 | 2020-05-18 | 30 | M | 174 | 80 | 26.4236 | 147 | 129 | 10 | 100 | 1860 | Pass | 157.4 | 99.7 | 95.7 | 112.5 | 88.4 | 71.1 | 130.7 | 101.8 | 0 | 0 | 17785 | 7471 | 7392 | 12133 | 1464 | 27121 | 18494 | 5923 | 1 | 0 | SSM-D20 | M | AirGuard | 4 | 4 | Good Fit | Q1-3 | 24574 | 99999999 | 99999999 | 66327 | 15050 | 4702 | 74279 | 20092 | AirGuard | 5 | 4 | WN
32 | 2020-05-21 | 36 | M | 183 | 76 | 22.694 | 143 | 130 |  | 120 | 1870+ | Pass | 167.5 | 96.1 | 134 | 160.5 | 128.9 | 109.7 | 162.5 | 131.8 | 1 | 0 | 8209 | 70152 | 10602 | 92753 | 3099 | 99999999 | 99999999 | 12414 | 1 | 0 | SSM-D20 | M | AirGuard | 3.5 | 4 | Muffled | Q1-3 | 15832 | 10259 | 6879 | 3763 | 2367 | 21509 | 12576 | 6249 | AirGuard | 4 | 4 | WN
28 | 2020-05-21 | 43 | F | 161 | 52 | 20.061 | 124 | 111 |  | 100 | 1860S | Pass | 156 | 87.9 | 142.5 | 150.7 | 138.5 | 105 | 332 | 136.7 | 1 | 0 | 6833 | 7480.1 | 4661.8 | 2345 | 8157 | 14181 | 79249 | 6213 | 1 | 0 | SSM-D20 | M | AirGuard | 4 | 4 |  | Q1-3 | 30862 | 30345 | 15934 | 1862 | 9308 | 3947 | 7941 | 6078 | AirGuard | 5 | 4 | WN | Straps cutting into eyes, touches
36 | 2020-05-21 | 35 | F | 163 | 54 | 20.3244 | 126 | 110 |  | 90 | 1860S | Pass | 34.7 | 31.5 | 35.5 | 62.3 | 25.4 | 7 | 42.2 | 23 | 0 | 0 | 6572 | 2532 | 62939 | 68726 | 5185 | 54260 | 20560 | 8358 | 1 | 0 | SSM-D20 | M | AirGuard | 3 | 3 | Muffled, but easier to breathe cc Q1-3 | Q1-3 | 7270 | 3381 | 6142 | 472 | 520 | 1069 | 99999999 | 1256 | AirGuard | 2 | 2 | WN | Nose digging a lot
34 | 2020-05-21 | 40 | F | 171 | 89 | 30.4367 | 137 | 111 |  | 96 | 1870+ | Pass | 619.5 | 557 | 584 | 424 | 156 | 234 | 309 | 327 | 1 | 1 | 47177 | 8592 | 5386 | 2224 | 1346 | 3268 | 25600 | 3761.6348 | 1 | 0 | SSM-D20 | M | AirGuard | 5 | 3 |  | Q1-3 | 4019 | 6951 | 31294 | 1278 | 4726 | 22487 | 99999999 | 4797 | AirGuard | 1 | 5 | WN | Restriction of verticla movement, straps blocking bottom visual fields
29 | 2020-05-21 | 35 | M | 179 | 79 | 24.6559 | 145 | 122 |  | 108 | 1860 | Pass | 52.94 | 99.5 | 111 | 103 | 81 | 79 | 112.5 | 86 | 0 | 0 | 1315 | 1952 | 1633 | 1542 | 1027 | 2314 | 12001 | 1740 | 1 | 1 | SSM-D20 | M | AirGuard | 4 | 4.5 | Needs to be tight for good fit | Q1-3 | 16462 | 12599 | 13684 | 17140 | 1797 | 15996 | 63064 | 7722 | AirGuard | 5 | 4.5 | WN | Muffled
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
21
Note on V2: Microsoft Office User: can't override excel exclusion of zero....
Note on A8: William Ng: MM
Note on A9: William Ng: HD
Note on A11: Microsoft Office User: LF
Note on A12: Microsoft Office User: MG
Note on A16: Microsoft Office User: DC, retested 21 May 2020, old data in separate sheet
Note on A24: William Ng: CM
Note on A25: William Ng: BA
Note on AC25: Microsoft Office User: Average of lowest 3 runs, missing data, will be recorded in analysis as such.
Note on A38: William Ng: CT stubbles present